## buildGen
Technology | Year | VLOOKUP_Serach | Capacity (MW) | GEN_BLD_YRS_1 | GEN_BLD_YRS_2 | BuildGen
Battery_Utility_1h | 2021 | Battery2021 | 0 | Battery_Utility_1h | 2021 | 0
Battery_Utility_1h | 2022 | Battery2022 | 0 | Battery_Utility_1h | 2022 | 0
Battery_Utility_1h | 2023 | Battery2023 | 0 | Battery_Utility_1h | 2023 | 0
Battery_Utility_1h | 2024 | Battery2024 | 0 | Battery_Utility_1h | 2024 | 0
Battery_Utility_1h | 2025 | Battery2025 | 0 | Battery_Utility_1h | 2025 | 0
Battery_Utility_1h | 2026 | Battery2026 | 3 | Battery_Utility_1h | 2026 | 3
Battery_Utility_1h | 2027 | Battery2027 | 0 | Battery_Utility_1h | 2027 | 0
Battery_Utility_1h | 2028 | Battery2028 | 0 | Battery_Utility_1h | 2028 | 0
Battery_Utility_1h | 2029 | Battery2029 | 0 | Battery_Utility_1h | 2029 | 0
Battery_Utility_1h | 2030 | Battery2030 | 0 | Battery_Utility_1h | 2030 | 0
Battery_Utility_2h | 2021 | Battery2021 | 0 | Battery_Utility_2h | 2021 | 0
Battery_Utility_2h | 2022 | Battery2022 | 0 | Battery_Utility_2h | 2022 | 0
Battery_Utility_2h | 2023 | Battery2023 | 0 | Battery_Utility_2h | 2023 | 0
Battery_Utility_2h | 2024 | Battery2024 | 0 | Battery_Utility_2h | 2024 | 0
Battery_Utility_2h | 2025 | Battery2025 | 0 | Battery_Utility_2h | 2025 | 0
Battery_Utility_2h | 2026 | Battery2026 | 0 | Battery_Utility_2h | 2026 | 0
Battery_Utility_2h | 2027 | Battery2027 | 0 | Battery_Utility_2h | 2027 | 0
Battery_Utility_2h | 2028 | Battery2028 | 0 | Battery_Utility_2h | 2028 | 0
Battery_Utility_2h | 2029 | Battery2029 | 0 | Battery_Utility_2h | 2029 | 0
Battery_Utility_2h | 2030 | Battery2030 | 0 | Battery_Utility_2h | 2030 | 0
Battery_Utility_4h | 2021 | Battery2021 | 0 | Battery_Utility_4h | 2021 | 0
Battery_Utility_4h | 2022 | Battery2022 | 0 | Battery_Utility_4h | 2022 | 0
Battery_Utility_4h | 2023 | Battery2023 | 0 | Battery_Utility_4h | 2023 | 0
Battery_Utility_4h | 2024 | Battery2024 | 0 | Battery_Utility_4h | 2024 | 0
Battery_Utility_4h | 2025 | Battery2025 | 0 | Battery_Utility_4h | 2025 | 0
Battery_Utility_4h | 2026 | Battery2026 | 0 | Battery_Utility_4h | 2026 | 0
Battery_Utility_4h | 2027 | Battery2027 | 0 | Battery_Utility_4h | 2027 | 0
Battery_Utility_4h | 2028 | Battery2028 | 0 | Battery_Utility_4h | 2028 | 0
Battery_Utility_4h | 2029 | Battery2029 | 0 | Battery_Utility_4h | 2029 | 0
Battery_Utility_4h | 2030 | Battery2030 | 0 | Battery_Utility_4h | 2030 | 0
Diesel_GE | 2020 | Diesel2020 | 76 | Diesel_GE | 2003 | 76
Diesel_P&W | 2020 | Diesel2020 | 148.2 | Diesel_P&W | 2003 | 148.2
Fueloil | 2020 | Fueloil2020 | 47.4 | Fueloil_MB&W | 2003 | 47.4
NG_GT | 2021 | NG_GT2021 | 0 | NG_GT | 2021 | 0
NG_GT | 2022 | NG_GT2022 | 0 | NG_GT | 2022 | 0
NG_GT | 2023 | NG_GT2023 | 70 | NG_GT | 2023 | 70
NG_GT | 2024 | NG_GT2024 | 0 | NG_GT | 2024 | 0
NG_GT | 2025 | NG_GT2025 | 0 | NG_GT | 2025 | 0
NG_GT | 2026 | NG_GT2026 | 0 | NG_GT | 2026 | 0
NG_GT | 2027 | NG_GT2027 | 0 | NG_GT | 2027 | 0
NG_GT | 2028 | NG_GT2028 | 0 | NG_GT | 2028 | 0
NG_GT | 2029 | NG_GT2029 | 0 | NG_GT | 2029 | 0
NG_GT | 2030 | NG_GT2030 | 10 | NG_GT | 2030 | 10
PV_SonSalomo | 2020 | PV_SonSalomo2020 | 5.1 | PV_SonSalomo | 2008 | 5.1
Seacable | 2020 | Seacable2020 | 35 | Seacable | 2020 | 35
Seacable | 2021 | Seacable2021 | 0 | Seacable | 2021 | 0
Seacable | 2022 | Seacable2022 | 0 | Seacable | 2022 | 0
Seacable | 2023 | Seacable2023 | 0 | Seacable | 2023 | 0
Seacable | 2024 | Seacable2024 | 0 | Seacable | 2024 | 0
Seacable | 2025 | Seacable2025 | 0 | Seacable | 2025 | 0
Seacable | 2026 | Seacable2026 | 0 | Seacable | 2026 | 0
Seacable | 2027 | Seacable2027 | 0 | Seacable | 2027 | 0
Seacable | 2028 | Seacable2028 | 0 | Seacable | 2028 | 0
Seacable | 2029 | Seacable2029 | 0 | Seacable | 2029 | 0
Seacable | 2030 | Seacable2030 | 0 | Seacable | 2030 | 0
Utility_PV | 2021 | Utility_PV2021 | 62 | Utility_PV | 2021 | 62
Utility_PV | 2022 | Utility_PV2022 | 0 | Utility_PV | 2022 | 0
Utility_PV | 2023 | Utility_PV2023 | 0 | Utility_PV | 2023 | 0
Utility_PV | 2024 | Utility_PV2024 | 0 | Utility_PV | 2024 | 0
Utility_PV | 2025 | Utility_PV2025 | 0 | Utility_PV | 2025 | 0
Utility_PV | 2026 | Utility_PV2026 | 0 | Utility_PV | 2026 | 0
Utility_PV | 2027 | Utility_PV2027 | 0 | Utility_PV | 2027 | 0
Utility_PV | 2028 | Utility_PV2028 | 4 | Utility_PV | 2028 | 4
Utility_PV | 2029 | Utility_PV2029 | 4 | Utility_PV | 2029 | 4
Utility_PV | 2030 | Utility_PV2030 | 2 | Utility_PV | 2030 | 2
Wind_Mila | 2020 | Wind_Mila2020 | 3.2 | Wind_Mila | 2004 | 3.2
Wind_OnShore | 2021 | Wind_OnShore2021 | 41.4 | Wind_OnShore | 2021 | 41.4
Wind_OnShore | 2022 | Wind_OnShore2022 | 3.45 | Wind_OnShore | 2022 | 3.45
Wind_OnShore | 2023 | Wind_OnShore2023 | 0 | Wind_OnShore | 2023 | 0
Wind_OnShore | 2024 | Wind_OnShore2024 | 13.8 | Wind_OnShore | 2024 | 13.8
Wind_OnShore | 2025 | Wind_OnShore2025 | 6.9 | Wind_OnShore | 2025 | 6.9
Wind_OnShore | 2026 | Wind_OnShore2026 | 13.8 | Wind_OnShore | 2026 | 13.8
Wind_OnShore | 2027 | Wind_OnShore2027 | 0 | Wind_OnShore | 2027 | 0
Wind_OnShore | 2028 | Wind_OnShore2028 | 0 | Wind_OnShore | 2028 | 0
Wind_OnShore | 2029 | Wind_OnShore2029 | 6.9 | Wind_OnShore | 2029 | 6.9
Wind_OnShore | 2030 | Wind_OnShore2030 | 3.45 | Wind_OnShore | 2030 | 3.45

## Capacity
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0
CCGT
Diesel | 76
Fueloil | 224.2
NG_GT |  | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 10
PV_SonSalomo | 5.1
Seacable | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utility_PV |  | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4 | 2
Wind_Mila | 3.2
Wind_OnShore |  | 41.4 | 3.45 | 0 | 13.8 | 6.9 | 13.8 | 0 | 0 | 6.9 | 3.45
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0
CCGT | 0
Diesel | 76 |  |  | -76 | 0
Fueloil | 224.2 |  |  | -224.2 | 0
OCGT | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 10
PV - Son Salomo | 5.1
Seacable | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar PV (new) | 0 | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4 | 2
Wind - Mila | 3.2 | [7 empty] | -3.2 | 0
Wind (new) | 0 | 41.4 | 3.45 | 0 | 13.8 | 6.9 | 13.8 | 0 | 0 | 6.9 | 3.45
CUMULATIVE
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 3 | 3 | 3
CCGT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Diesel | 76 | 76 | 76 | -76 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fueloil | 224.2 | 224.2 | 224.2 | -224.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OCGT | 0 | 0 | 0 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 80
PV - Son Salomo | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1
Seacable | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
Solar PV (new) | 0 | 62 | 62 | 62 | 62 | 62 | 62 | 62 | 66 | 70 | 72
Wind - Mila | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | -3.2 | 0 | 0
Wind (new) | 0 | 41.4 | 44.85 | 44.85 | 58.65 | 65.55 | 79.35 | 79.35 | 79.35 | 86.25 | 89.7
Installed Cap.
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Wind | 3.2 | 44.6 | 48.05 | 48.05 | 61.85 | 68.75 | 82.55 | 82.55 | 76.15 | 86.25 | 89.7
Solar PV | 5.1 | 67.1 | 67.1 | 67.1 | 67.1 | 67.1 | 67.1 | 67.1 | 71.1 | 75.1 | 77.1
Sea-cable | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
Nat. gas (OCGT) | 0 | 0 | 0 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 80
Nat. gas (CCGT) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fueloil | 224.2 | 224.2 | 224.2
Diesel | 76 | 76 | 76
Battery | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 3 | 3 | 3

## dispatch_annual
gen_energy_source | period | VLOOKUP | Energy_GWh_typical_yr | VariableCost_per_yr | DispatchEmissions_tCO2_per_typical_yr | gen_tech | gen_energy_source | period | Energy_GWh_typical_yr | VariableCost_per_yr | DispatchEmissions_tCO2_per_typical_yr
Battery | 2021 | Battery2021 | 0 | 0 | 0 | bat_1h | battery | 2021 | 0 | 0 | 0
Battery | 2022 | Battery2022 | 0 | 0 | 0 | bat_1h | battery | 2022 | 0 | 0 | 0
Battery | 2023 | Battery2023 | 0 | 0 | 0 | bat_1h | battery | 2023 | 0 | 0 | 0
Battery | 2024 | Battery2024 | 0 | 0 | 0 | bat_1h | battery | 2024 | 0 | 0 | 0
Battery | 2025 | Battery2025 | 0 | 0 | 0 | bat_1h | battery | 2025 | 0 | 0 | 0
Battery | 2026 | Battery2026 | 2.0168 | 0 | 0 | bat_1h | battery | 2026 | 2.0168 | 0 | 0
Battery | 2027 | Battery2027 | 2.025 | 0 | 0 | bat_1h | battery | 2027 | 2.025 | 0 | 0
Battery | 2028 | Battery2028 | 1.9919 | 0 | 0 | bat_1h | battery | 2028 | 1.9919 | 0 | 0
Battery | 2029 | Battery2029 | 2.0672 | 0 | 0 | bat_1h | battery | 2029 | 2.0672 | 0 | 0
Battery | 2030 | Battery2030 | 1.9983 | 0 | 0 | bat_1h | battery | 2030 | 1.9983 | 0 | 0
Battery | 2021 | Battery2021 | 0 | 0 | 0 | bat_2h | battery | 2021 | 0 | 0 | 0
Battery | 2022 | Battery2022 | 0 | 0 | 0 | bat_2h | battery | 2022 | 0 | 0 | 0
Battery | 2023 | Battery2023 | 0 | 0 | 0 | bat_2h | battery | 2023 | 0 | 0 | 0
Battery | 2024 | Battery2024 | 0 | 0 | 0 | bat_2h | battery | 2024 | 0 | 0 | 0
Battery | 2025 | Battery2025 | 0 | 0 | 0 | bat_2h | battery | 2025 | 0 | 0 | 0
Battery | 2026 | Battery2026 | 0 | 0 | 0 | bat_2h | battery | 2026 | 0 | 0 | 0
Battery | 2027 | Battery2027 | 0 | 0 | 0 | bat_2h | battery | 2027 | 0 | 0 | 0
Battery | 2028 | Battery2028 | 0 | 0 | 0 | bat_2h | battery | 2028 | 0 | 0 | 0
Battery | 2029 | Battery2029 | 0 | 0 | 0 | bat_2h | battery | 2029 | 0 | 0 | 0
Battery | 2030 | Battery2030 | 0 | 0 | 0 | bat_2h | battery | 2030 | 0 | 0 | 0
Battery | 2021 | Battery2021 | 0 | 0 | 0 | bat_4h | battery | 2021 | 0 | 0 | 0
Battery | 2022 | Battery2022 | 0 | 0 | 0 | bat_4h | battery | 2022 | 0 | 0 | 0
Battery | 2023 | Battery2023 | 0 | 0 | 0 | bat_4h | battery | 2023 | 0 | 0 | 0
Battery | 2024 | Battery2024 | 0 | 0 | 0 | bat_4h | battery | 2024 | 0 | 0 | 0
Battery | 2025 | Battery2025 | 0 | 0 | 0 | bat_4h | battery | 2025 | 0 | 0 | 0
Battery | 2026 | Battery2026 | 0 | 0 | 0 | bat_4h | battery | 2026 | 0 | 0 | 0
Battery | 2027 | Battery2027 | 0 | 0 | 0 | bat_4h | battery | 2027 | 0 | 0 | 0
Battery | 2028 | Battery2028 | 0 | 0 | 0 | bat_4h | battery | 2028 | 0 | 0 | 0
Battery | 2029 | Battery2029 | 0 | 0 | 0 | bat_4h | battery | 2029 | 0 | 0 | 0
Battery | 2030 | Battery2030 | 0 | 0 | 0 | bat_4h | battery | 2030 | 0 | 0 | 0
Seacable | 2021 | Seacable2021 | 181.2301 | 0 | 35724.0755 | cable | cable | 2021 | 181.2301 | 0 | 35724.0755
Seacable | 2022 | Seacable2022 | 179.2035 | 0 | 35324.596 | cable | cable | 2022 | 179.2035 | 0 | 35324.596
Seacable | 2023 | Seacable2023 | 182.4266 | 0 | 35959.933 | cable | cable | 2023 | 182.4266 | 0 | 35959.933
Seacable | 2024 | Seacable2024 | 166.5036 | 0 | 32821.1799 | cable | cable | 2024 | 166.5036 | 0 | 32821.1799
Seacable | 2025 | Seacable2025 | 161.0088 | 0 | 31738.0552 | cable | cable | 2025 | 161.0088 | 0 | 31738.0551
Seacable | 2026 | Seacable2026 | 147.9857 | 0 | 29170.9398 | cable | cable | 2026 | 147.9857 | 0 | 29170.9398
Seacable | 2027 | Seacable2027 | 150.7644 | 0 | 29718.6879 | cable | cable | 2027 | 150.7644 | 0 | 29718.6879
Seacable | 2028 | Seacable2028 | 150.9347 | 0 | 29752.2397 | cable | cable | 2028 | 150.9347 | 0 | 29752.2397
Seacable | 2029 | Seacable2029 | 145.7718 | 0 | 28734.5303 | cable | cable | 2029 | 145.7718 | 0 | 28734.5303
Seacable | 2030 | Seacable2030 | 143.8031 | 0 | 28346.4614 | cable | cable | 2030 | 143.8031 | 0 | 28346.4614
Diesel | 2021 | Diesel2021 | 1.1817 | 0 | 972.4193 | diesel | diesel | 2021 | 1.1817 | 0 | 972.4193
Diesel | 2022 | Diesel2022 | 1.3605 | 0 | 1119.5892 | diesel | diesel | 2022 | 1.3605 | 0 | 1119.5892
Fueloil | 2021 | Fueloil2021 | 45.4017 | 0 | 39277.0461 | fueloil | fueloil | 2021 | 45.4017 | 0 | 39277.0461
Fueloil | 2022 | Fueloil2022 | 46.3691 | 0 | 40113.8712 | fueloil | fueloil | 2022 | 46.3691 | 0 | 40113.8712
Wind | 2021 | Wind2021 | 6.0204 | 0 | 0 | mila_wind | wind | 2021 | 6.0204 | 0 | 0
Wind | 2022 | Wind2022 | 5.716 | 0 | 0 | mila_wind | wind | 2022 | 5.716 | 0 | 0
Wind | 2023 | Wind2023 | 6.0366 | 0 | 0 | mila_wind | wind | 2023 | 6.0366 | 0 | 0
Wind | 2024 | Wind2024 | 5.7871 | 0 | 0 | mila_wind | wind | 2024 | 5.7871 | 0 | 0
Wind | 2025 | Wind2025 | 5.6661 | 0 | 0 | mila_wind | wind | 2025 | 5.6661 | 0 | 0
Wind | 2026 | Wind2026 | 5.6915 | 0 | 0 | mila_wind | wind | 2026 | 5.6915 | 0 | 0
Wind | 2027 | Wind2027 | 5.4888 | 0 | 0 | mila_wind | wind | 2027 | 5.4888 | 0 | 0
Wind | 2028 | Wind2028 | 5.2954 | 0 | 0 | mila_wind | wind | 2028 | 5.2954 | 0 | 0
Natural gas | 2021 | Natural gas2021 | 0 | 0 | 0 | nat_gas | gas | 2021 | 0 | 0 | 0
Natural gas | 2022 | Natural gas2022 | 0 | 0 | 0 | nat_gas | gas | 2022 | 0 | 0 | 0
Natural gas | 2023 | Natural gas2023 | 50.6136 | 367454.5182 | 26577.1856 | nat_gas | gas | 2023 | 50.6136 | 367454.5182 | 26577.1856
Natural gas | 2024 | Natural gas2024 | 46.1763 | 335239.7964 | 24247.1649 | nat_gas | gas | 2024 | 46.1763 | 335239.7964 | 24247.1649
Natural gas | 2025 | Natural gas2025 | 45.5586 | 330755.0839 | 23922.7954 | nat_gas | gas | 2025 | 45.5586 | 330755.0839 | 23922.7954
Natural gas | 2026 | Natural gas2026 | 41.0369 | 297927.6508 | 21548.4586 | nat_gas | gas | 2026 | 41.0369 | 297927.6508 | 21548.4586
Natural gas | 2027 | Natural gas2027 | 43.6168 | 316658.3032 | 22903.2059 | nat_gas | gas | 2027 | 43.6168 | 316658.3032 | 22903.2059
Natural gas | 2028 | Natural gas2028 | 45.2878 | 328789.6267 | 23780.6381 | nat_gas | gas | 2028 | 45.2878 | 328789.6267 | 23780.6382
Natural gas | 2029 | Natural gas2029 | 45.8565 | 332917.9577 | 24079.2313 | nat_gas | gas | 2029 | 45.8565 | 332917.9577 | 24079.2313
Natural gas | 2030 | Natural gas2030 | 46.888 | 340406.9657 | 24620.895 | nat_gas | gas | 2030 | 46.888 | 340406.9657 | 24620.895
Solar | 2021 | Solar2021 | 7.6511 | 0 | 0 | salomo_pv | sun | 2021 | 7.6511 | 0 | 0
Solar | 2022 | Solar2022 | 7.3835 | 0 | 0 | salomo_pv | sun | 2022 | 7.3835 | 0 | 0
Solar | 2023 | Solar2023 | 7.89 | 0 | 0 | salomo_pv | sun | 2023 | 7.89 | 0 | 0
Solar | 2024 | Solar2024 | 7.4928 | 0 | 0 | salomo_pv | sun | 2024 | 7.4928 | 0 | 0
Solar | 2025 | Solar2025 | 7.1995 | 0 | 0 | salomo_pv | sun | 2025 | 7.1995 | 0 | 0
Solar | 2026 | Solar2026 | 7.4301 | 0 | 0 | salomo_pv | sun | 2026 | 7.4301 | 0 | 0
Solar | 2027 | Solar2027 | 7.1678 | 0 | 0 | salomo_pv | sun | 2027 | 7.1678 | 0 | 0
Solar | 2028 | Solar2028 | 6.9129 | 0 | 0 | salomo_pv | sun | 2028 | 6.9129 | 0 | 0
Solar | 2029 | Solar2029 | 6.8732 | 0 | 0 | salomo_pv | sun | 2029 | 6.8732 | 0 | 0
Solar | 2030 | Solar2030 | 7.1186 | 0 | 0 | salomo_pv | sun | 2030 | 7.1186 | 0 | 0
Solar | 2021 | Solar2021 | 134.2983 | 0 | 0 | utility_pv | sun | 2021 | 134.2983 | 0 | 0
Solar | 2022 | Solar2022 | 138.1013 | 0 | 0 | utility_pv | sun | 2022 | 138.1013 | 0 | 0
Solar | 2023 | Solar2023 | 137.1005 | 0 | 0 | utility_pv | sun | 2023 | 137.1005 | 0 | 0
Solar | 2024 | Solar2024 | 133.8635 | 0 | 0 | utility_pv | sun | 2024 | 133.8635 | 0 | 0
Solar | 2025 | Solar2025 | 126.8682 | 0 | 0 | utility_pv | sun | 2025 | 126.8682 | 0 | 0
Solar | 2026 | Solar2026 | 124.6175 | 0 | 0 | utility_pv | sun | 2026 | 124.6175 | 0 | 0
Solar | 2027 | Solar2027 | 122.3689 | 0 | 0 | utility_pv | sun | 2027 | 122.3689 | 0 | 0
Solar | 2028 | Solar2028 | 128.8477 | 0 | 0 | utility_pv | sun | 2028 | 128.8477 | 0 | 0
Solar | 2029 | Solar2029 | 133.096 | 0 | 0 | utility_pv | sun | 2029 | 133.096 | 0 | 0
Solar | 2030 | Solar2030 | 140.1226 | 0 | 0 | utility_pv | sun | 2030 | 140.1226 | 0 | 0
Wind | 2021 | Wind2021 | 117.1807 | 0 | 0 | wind | wind | 2021 | 117.1807 | 0 | 0
Wind | 2022 | Wind2022 | 122.4151 | 0 | 0 | wind | wind | 2022 | 122.4151 | 0 | 0
Wind | 2023 | Wind2023 | 124.2064 | 0 | 0 | wind | wind | 2023 | 124.2064 | 0 | 0
Wind | 2024 | Wind2024 | 155.887 | 0 | 0 | wind | wind | 2024 | 155.887 | 0 | 0
Wind | 2025 | Wind2025 | 176.8716 | 0 | 0 | wind | wind | 2025 | 176.8716 | 0 | 0
Wind | 2026 | Wind2026 | 204.6272 | 0 | 0 | wind | wind | 2026 | 204.6272 | 0 | 0
Wind | 2027 | Wind2027 | 210.4882 | 0 | 0 | wind | wind | 2027 | 210.4882 | 0 | 0
Wind | 2028 | Wind2028 | 210.2848 | 0 | 0 | wind | wind | 2028 | 210.2848 | 0 | 0
Wind | 2029 | Wind2029 | 224.3883 | 0 | 0 | wind | wind | 2029 | 224.3883 | 0 | 0
Wind | 2030 | Wind2030 | 225.3038 | 0 | 0 | wind | wind | 2030 | 225.3038 | 0 | 0

## Dispatch
Technology | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0 | 2.0168 | 2.025 | 1.9919 | 2.0672 | 1.9983
Seacable | 181.2301 | 179.2035 | 182.4266 | 166.5036 | 161.0088 | 147.9857 | 150.7644 | 150.9347 | 145.7718 | 143.8031
Diesel | 1.1817 | 1.3605 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fueloil | 45.4017 | 46.3691 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural gas | 0 | 0 | 50.6136 | 46.1763 | 45.5586 | 41.0369 | 43.6168 | 45.2878 | 45.8565 | 46.888
Solar | 141.9494 | 145.4848 | 144.9905 | 141.3563 | 134.0677 | 132.0476 | 129.5367 | 135.7607 | 139.9691 | 147.2412
Wind | 123.2011 | 128.1311 | 130.243 | 161.6742 | 182.5377 | 210.3187 | 215.977 | 215.5801 | 224.3883 | 225.3038
TOTAL | 492.964 | 500.549 | 508.2736 | 515.7103 | 523.1728 | 531.0329 | 539.5377 | 547.2118 | 555.6208 | 562.8834 | Check if it matches ElectricityCost!
Technology | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Wind | 24.99% | 25.6% | 25.62% | 31.35% | 34.89% | 39.43% | 39.85% | 39.23% | 40.21% | 39.86%
Solar PV | 28.8% | 29.07% | 28.53% | 27.41% | 25.63% | 24.76% | 23.9% | 24.7% | 25.08% | 26.05%
Sea-cable | 36.76% | 35.8% | 35.89% | 32.29% | 30.78% | 27.74% | 27.82% | 27.46% | 26.12% | 25.44%
Natural gas | 0% | 0% | 9.958% | 8.954% | 8.708% | 7.693% | 8.049% | 8.241% | 8.217% | 8.295%
Fueloil | 9.21% | 9.264% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Diesel | 0.2397% | 0.2718% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Battery | 0% | 0% | 0% | 0% | 0% | 0.3781% | 0.3737% | 0.3625% | 0.3704% | 0.3535%
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Renewables | 53.79% | 54.66% | 54.15% | 58.76% | 60.52% | 64.18% | 63.76% | 63.93% | 65.29% | 65.91%
Fossil fuel | 9.45% | 9.535% | 9.958% | 8.954% | 8.708% | 7.693% | 8.049% | 8.241% | 8.217% | 8.295%
Seacable | 36.76% | 35.8% | 35.89% | 32.29% | 30.78% | 27.74% | 27.82% | 27.46% | 26.12% | 25.44%

## ElectricityCost
PERIOD | SystemCostPerPeriod_NPV | SystemCostPerPeriod_Real | EnergyCostReal_per_MWh | SystemDemand_MWh
2021 | 54101709.3041 | 55183743.4901 | 111.9427 | 492964.01
2022 | 53509901.1714 | 55671701.1787 | 111.2213 | 500549
2023 | 38379809.8582 | 40728961.26 | 80.132 | 508273.64
2024 | 37929238.3945 | 41055827.4426 | 79.6103 | 515710.3
2025 | 37616079.917 | 41531191.728 | 79.3833 | 523172.79
2026 | 37368264.648 | 42082735.3197 | 79.2469 | 531032.88
2027 | 37053932.3262 | 42563320.9932 | 78.8885 | 539537.67
2028 | 36735956.2219 | 43042027.7275 | 78.657 | 547211.77
2029 | 36182869.816 | 43241878.8286 | 77.8262 | 555620.8
2030 | 36360226.2733 | 44322912.9369 | 78.7426 | 562883.37
Total | 405237987.9 | 449424300.9 | 85.1673 | 5276956.23
component | npv_cost | Cost (million Euros)
TotalGenFixedCosts | 273009074.324 | 273.0091
StorageEnergyInstallCosts | 886311.7849 | 0.88631
GenVariableOMCostsInTP | 2334208.6692 | 2.3342
FuelCostsPerTP | 129008393.1526 | 129.0084