## buildGen
Technology | Year | VLOOKUP_Serach | Capacity (MW) | GEN_BLD_YRS_1 | GEN_BLD_YRS_2 | BuildGen
Battery_Utility_1h | 2021 | Battery2021 | 0 | Battery_Utility_1h | 2021 | 0
Battery_Utility_1h | 2022 | Battery2022 | 0 | Battery_Utility_1h | 2022 | 0
Battery_Utility_1h | 2023 | Battery2023 | 0 | Battery_Utility_1h | 2023 | 0
Battery_Utility_1h | 2024 | Battery2024 | 0 | Battery_Utility_1h | 2024 | 0
Battery_Utility_1h | 2025 | Battery2025 | 0 | Battery_Utility_1h | 2025 | 0
Battery_Utility_1h | 2026 | Battery2026 | 2 | Battery_Utility_1h | 2026 | 2
Battery_Utility_1h | 2027 | Battery2027 | 0 | Battery_Utility_1h | 2027 | 0
Battery_Utility_1h | 2028 | Battery2028 | 0 | Battery_Utility_1h | 2028 | 0
Battery_Utility_1h | 2029 | Battery2029 | 0 | Battery_Utility_1h | 2029 | 0
Battery_Utility_1h | 2030 | Battery2030 | 0 | Battery_Utility_1h | 2030 | 0
Battery_Utility_2h | 2021 | Battery2021 | 0 | Battery_Utility_2h | 2021 | 0
Battery_Utility_2h | 2022 | Battery2022 | 0 | Battery_Utility_2h | 2022 | 0
Battery_Utility_2h | 2023 | Battery2023 | 0 | Battery_Utility_2h | 2023 | 0
Battery_Utility_2h | 2024 | Battery2024 | 0 | Battery_Utility_2h | 2024 | 0
Battery_Utility_2h | 2025 | Battery2025 | 0 | Battery_Utility_2h | 2025 | 0
Battery_Utility_2h | 2026 | Battery2026 | 0 | Battery_Utility_2h | 2026 | 0
Battery_Utility_2h | 2027 | Battery2027 | 0 | Battery_Utility_2h | 2027 | 0
Battery_Utility_2h | 2028 | Battery2028 | 0 | Battery_Utility_2h | 2028 | 0
Battery_Utility_2h | 2029 | Battery2029 | 0 | Battery_Utility_2h | 2029 | 0
Battery_Utility_2h | 2030 | Battery2030 | 0 | Battery_Utility_2h | 2030 | 0
Battery_Utility_4h | 2021 | Battery2021 | 0 | Battery_Utility_4h | 2021 | 0
Battery_Utility_4h | 2022 | Battery2022 | 0 | Battery_Utility_4h | 2022 | 0
Battery_Utility_4h | 2023 | Battery2023 | 0 | Battery_Utility_4h | 2023 | 0
Battery_Utility_4h | 2024 | Battery2024 | 0 | Battery_Utility_4h | 2024 | 0
Battery_Utility_4h | 2025 | Battery2025 | 0 | Battery_Utility_4h | 2025 | 0
Battery_Utility_4h | 2026 | Battery2026 | 0 | Battery_Utility_4h | 2026 | 0
Battery_Utility_4h | 2027 | Battery2027 | 0 | Battery_Utility_4h | 2027 | 0
Battery_Utility_4h | 2028 | Battery2028 | 0 | Battery_Utility_4h | 2028 | 0
Battery_Utility_4h | 2029 | Battery2029 | 0 | Battery_Utility_4h | 2029 | 0
Battery_Utility_4h | 2030 | Battery2030 | 0 | Battery_Utility_4h | 2030 | 0
Diesel_GE | 2020 | Diesel2020 | 76 | Diesel_GE | 2003 | 76
Diesel_P&W | 2020 | Diesel2020 | 148.2 | Diesel_P&W | 2003 | 148.2
Fueloil | 2020 | Fueloil2020 | 47.4 | Fueloil_MB&W | 2003 | 47.4
NG_GT | 2021 | NG_GT2021 | 0 | NG_GT | 2021 | 0
NG_GT | 2022 | NG_GT2022 | 0 | NG_GT | 2022 | 0
NG_GT | 2023 | NG_GT2023 | 70 | NG_GT | 2023 | 70
NG_GT | 2024 | NG_GT2024 | 0 | NG_GT | 2024 | 0
NG_GT | 2025 | NG_GT2025 | 0 | NG_GT | 2025 | 0
NG_GT | 2026 | NG_GT2026 | 0 | NG_GT | 2026 | 0
NG_GT | 2027 | NG_GT2027 | 0 | NG_GT | 2027 | 0
NG_GT | 2028 | NG_GT2028 | 0 | NG_GT | 2028 | 0
NG_GT | 2029 | NG_GT2029 | 0 | NG_GT | 2029 | 0
NG_GT | 2030 | NG_GT2030 | 0 | NG_GT | 2030 | 0
PV_SonSalomo | 2020 | PV_SonSalomo2020 | 5.1 | PV_SonSalomo | 2008 | 5.1
Seacable | 2020 | Seacable2020 | 35 | Seacable | 2020 | 35
Seacable | 2021 | Seacable2021 | 0 | Seacable | 2021 | 0
Seacable | 2022 | Seacable2022 | 0 | Seacable | 2022 | 0
Seacable | 2023 | Seacable2023 | 0 | Seacable | 2023 | 0
Seacable | 2024 | Seacable2024 | 0 | Seacable | 2024 | 0
Seacable | 2025 | Seacable2025 | 0 | Seacable | 2025 | 0
Seacable | 2026 | Seacable2026 | 0 | Seacable | 2026 | 0
Seacable | 2027 | Seacable2027 | 0 | Seacable | 2027 | 0
Seacable | 2028 | Seacable2028 | 0 | Seacable | 2028 | 0
Seacable | 2029 | Seacable2029 | 0 | Seacable | 2029 | 0
Seacable | 2030 | Seacable2030 | 35 | Seacable | 2030 | 35
Utility_PV | 2021 | Utility_PV2021 | 60 | Utility_PV | 2021 | 60
Utility_PV | 2022 | Utility_PV2022 | 0 | Utility_PV | 2022 | 0
Utility_PV | 2023 | Utility_PV2023 | 0 | Utility_PV | 2023 | 0
Utility_PV | 2024 | Utility_PV2024 | 0 | Utility_PV | 2024 | 0
Utility_PV | 2025 | Utility_PV2025 | 0 | Utility_PV | 2025 | 0
Utility_PV | 2026 | Utility_PV2026 | 0 | Utility_PV | 2026 | 0
Utility_PV | 2027 | Utility_PV2027 | 0 | Utility_PV | 2027 | 0
Utility_PV | 2028 | Utility_PV2028 | 6 | Utility_PV | 2028 | 6
Utility_PV | 2029 | Utility_PV2029 | 2 | Utility_PV | 2029 | 2
Utility_PV | 2030 | Utility_PV2030 | 0 | Utility_PV | 2030 | 0
Wind_Mila | 2020 | Wind_Mila2020 | 3.2 | Wind_Mila | 2004 | 3.2
Wind_OnShore | 2021 | Wind_OnShore2021 | 41.4 | Wind_OnShore | 2021 | 41.4
Wind_OnShore | 2022 | Wind_OnShore2022 | 6.9 | Wind_OnShore | 2022 | 6.9
Wind_OnShore | 2023 | Wind_OnShore2023 | 3.45 | Wind_OnShore | 2023 | 3.45
Wind_OnShore | 2024 | Wind_OnShore2024 | 10.35 | Wind_OnShore | 2024 | 10.35
Wind_OnShore | 2025 | Wind_OnShore2025 | 10.35 | Wind_OnShore | 2025 | 10.35
Wind_OnShore | 2026 | Wind_OnShore2026 | 24.15 | Wind_OnShore | 2026 | 24.15
Wind_OnShore | 2027 | Wind_OnShore2027 | 0 | Wind_OnShore | 2027 | 0
Wind_OnShore | 2028 | Wind_OnShore2028 | 0 | Wind_OnShore | 2028 | 0
Wind_OnShore | 2029 | Wind_OnShore2029 | 0 | Wind_OnShore | 2029 | 0
Wind_OnShore | 2030 | Wind_OnShore2030 | 0 | Wind_OnShore | 2030 | 0

## Capacity
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0
CCGT
Diesel | 76
Fueloil | 47.4
NG_GT |  | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV_SonSalomo | 5.1
Seacable | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35
Utility_PV |  | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 2 | 0
Wind_Mila | 3.2
Wind_OnShore |  | 41.4 | 6.9 | 3.45 | 10.35 | 10.35 | 24.15 | 0 | 0 | 0 | 0
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0
CCGT | 0
Diesel | 76 |  |  | -76 | 0
Fueloil | 47.4 |  |  | -47.4 | 0
OCGT | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV - Son Salomo | 5.1
Seacable | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35
Solar PV (new) | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 2 | 0
Wind - Mila | 3.2 | [7 empty] | -3.2 | 0
Wind (new) | 0 | 41.4 | 6.9 | 3.45 | 10.35 | 10.35 | 24.15 | 0 | 0 | 0 | 0
CUMULATIVE
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 2 | 2 | 2
CCGT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Diesel | 76 | 76 | 76 | -76 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fueloil | 47.4 | 47.4 | 47.4 | -47.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OCGT | 0 | 0 | 0 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
PV - Son Salomo | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1
Seacable | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 70
Solar PV (new) | 0 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 66 | 68 | 68
Wind - Mila | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | -3.2 | 0 | 0
Wind (new) | 0 | 41.4 | 48.3 | 51.75 | 62.1 | 72.45 | 96.6 | 96.6 | 96.6 | 96.6 | 96.6
Installed Cap.
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Wind | 3.2 | 44.6 | 51.5 | 54.95 | 65.3 | 75.65 | 99.8 | 99.8 | 93.4 | 96.6 | 96.6
Solar PV | 5.1 | 65.1 | 65.1 | 65.1 | 65.1 | 65.1 | 65.1 | 65.1 | 71.1 | 73.1 | 73.1
Sea-cable | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 70
Nat. gas (OCGT) | 0 | 0 | 0 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Nat. gas (CCGT) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fueloil | 47.4 | 47.4 | 47.4
Diesel | 76 | 76 | 76
Battery | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 2 | 2 | 2

## dispatch_annual
gen_energy_source | period | VLOOKUP | Energy_GWh_typical_yr | VariableCost_per_yr | DispatchEmissions_tCO2_per_typical_yr | gen_tech | gen_energy_source | period | Energy_GWh_typical_yr | VariableCost_per_yr | DispatchEmissions_tCO2_per_typical_yr
Battery | 2021 | Battery2021 | 0 | 0 | 0 | bat_1h | battery | 2021 | 0 | 0 | 0
Battery | 2022 | Battery2022 | 0 | 0 | 0 | bat_1h | battery | 2022 | 0 | 0 | 0
Battery | 2023 | Battery2023 | 0 | 0 | 0 | bat_1h | battery | 2023 | 0 | 0 | 0
Battery | 2024 | Battery2024 | 0 | 0 | 0 | bat_1h | battery | 2024 | 0 | 0 | 0
Battery | 2025 | Battery2025 | 0 | 0 | 0 | bat_1h | battery | 2025 | 0 | 0 | 0
Battery | 2026 | Battery2026 | 1.739 | 0 | 0 | bat_1h | battery | 2026 | 1.739 | 0 | 0
Battery | 2027 | Battery2027 | 1.8426 | 0 | 0 | bat_1h | battery | 2027 | 1.8426 | 0 | 0
Battery | 2028 | Battery2028 | 1.7511 | 0 | 0 | bat_1h | battery | 2028 | 1.7511 | 0 | 0
Battery | 2029 | Battery2029 | 1.7541 | 0 | 0 | bat_1h | battery | 2029 | 1.7541 | 0 | 0
Battery | 2030 | Battery2030 | 1.4226 | 0 | 0 | bat_1h | battery | 2030 | 1.4226 | 0 | 0
Battery | 2021 | Battery2021 | 0 | 0 | 0 | bat_2h | battery | 2021 | 0 | 0 | 0
Battery | 2022 | Battery2022 | 0 | 0 | 0 | bat_2h | battery | 2022 | 0 | 0 | 0
Battery | 2023 | Battery2023 | 0 | 0 | 0 | bat_2h | battery | 2023 | 0 | 0 | 0
Battery | 2024 | Battery2024 | 0 | 0 | 0 | bat_2h | battery | 2024 | 0 | 0 | 0
Battery | 2025 | Battery2025 | 0 | 0 | 0 | bat_2h | battery | 2025 | 0 | 0 | 0
Battery | 2026 | Battery2026 | 0 | 0 | 0 | bat_2h | battery | 2026 | 0 | 0 | 0
Battery | 2027 | Battery2027 | 0 | 0 | 0 | bat_2h | battery | 2027 | 0 | 0 | 0
Battery | 2028 | Battery2028 | 0 | 0 | 0 | bat_2h | battery | 2028 | 0 | 0 | 0
Battery | 2029 | Battery2029 | 0 | 0 | 0 | bat_2h | battery | 2029 | 0 | 0 | 0
Battery | 2030 | Battery2030 | 0 | 0 | 0 | bat_2h | battery | 2030 | 0 | 0 | 0
Battery | 2021 | Battery2021 | 0 | 0 | 0 | bat_4h | battery | 2021 | 0 | 0 | 0
Battery | 2022 | Battery2022 | 0 | 0 | 0 | bat_4h | battery | 2022 | 0 | 0 | 0
Battery | 2023 | Battery2023 | 0 | 0 | 0 | bat_4h | battery | 2023 | 0 | 0 | 0
Battery | 2024 | Battery2024 | 0 | 0 | 0 | bat_4h | battery | 2024 | 0 | 0 | 0
Battery | 2025 | Battery2025 | 0 | 0 | 0 | bat_4h | battery | 2025 | 0 | 0 | 0
Battery | 2026 | Battery2026 | 0 | 0 | 0 | bat_4h | battery | 2026 | 0 | 0 | 0
Battery | 2027 | Battery2027 | 0 | 0 | 0 | bat_4h | battery | 2027 | 0 | 0 | 0
Battery | 2028 | Battery2028 | 0 | 0 | 0 | bat_4h | battery | 2028 | 0 | 0 | 0
Battery | 2029 | Battery2029 | 0 | 0 | 0 | bat_4h | battery | 2029 | 0 | 0 | 0
Battery | 2030 | Battery2030 | 0 | 0 | 0 | bat_4h | battery | 2030 | 0 | 0 | 0
Seacable | 2021 | Seacable2021 | 183.3485 | 0 | 36141.662 | cable | cable | 2021 | 183.3485 | 0 | 36141.662
Seacable | 2022 | Seacable2022 | 176.1452 | 0 | 34721.7363 | cable | cable | 2022 | 176.1452 | 0 | 34721.7363
Seacable | 2023 | Seacable2023 | 174.6681 | 0 | 34430.577 | cable | cable | 2023 | 174.6681 | 0 | 34430.577
Seacable | 2024 | Seacable2024 | 163.6317 | 0 | 32255.0791 | cable | cable | 2024 | 163.6317 | 0 | 32255.0791
Seacable | 2025 | Seacable2025 | 154.0642 | 0 | 30369.1338 | cable | cable | 2025 | 154.0642 | 0 | 30369.1338
Seacable | 2026 | Seacable2026 | 130.718 | 0 | 25767.1325 | cable | cable | 2026 | 130.718 | 0 | 25767.1325
Seacable | 2027 | Seacable2027 | 133.2894 | 0 | 26274.0105 | cable | cable | 2027 | 133.2894 | 0 | 26274.0105
Seacable | 2028 | Seacable2028 | 132.1525 | 0 | 26049.8959 | cable | cable | 2028 | 132.1525 | 0 | 26049.8959
Seacable | 2029 | Seacable2029 | 136.2391 | 0 | 26855.458 | cable | cable | 2029 | 136.2391 | 0 | 26855.458
Seacable | 2030 | Seacable2030 | 178.6999 | 0 | 35225.3295 | cable | cable | 2030 | 178.6999 | 0 | 35225.3295
Diesel | 2021 | Diesel2021 | 1.1817 | 0 | 972.4193 | diesel | diesel | 2021 | 1.1817 | 0 | 972.4193
Diesel | 2022 | Diesel2022 | 1.2441 | 0 | 1023.7436 | diesel | diesel | 2022 | 1.2441 | 0 | 1023.7436
Fueloil | 2021 | Fueloil2021 | 45.893 | 0 | 39702.0533 | fueloil | fueloil | 2021 | 45.893 | 0 | 39702.0533
Fueloil | 2022 | Fueloil2022 | 45.1093 | 0 | 39024.0269 | fueloil | fueloil | 2022 | 45.1093 | 0 | 39024.0269
Wind | 2021 | Wind2021 | 6.1553 | 0 | 0 | mila_wind | wind | 2021 | 6.1553 | 0 | 0
Wind | 2022 | Wind2022 | 5.928 | 0 | 0 | mila_wind | wind | 2022 | 5.928 | 0 | 0
Wind | 2023 | Wind2023 | 5.77 | 0 | 0 | mila_wind | wind | 2023 | 5.77 | 0 | 0
Wind | 2024 | Wind2024 | 5.7458 | 0 | 0 | mila_wind | wind | 2024 | 5.7458 | 0 | 0
Wind | 2025 | Wind2025 | 5.6179 | 0 | 0 | mila_wind | wind | 2025 | 5.6179 | 0 | 0
Wind | 2026 | Wind2026 | 5.5742 | 0 | 0 | mila_wind | wind | 2026 | 5.5742 | 0 | 0
Wind | 2027 | Wind2027 | 5.5724 | 0 | 0 | mila_wind | wind | 2027 | 5.5724 | 0 | 0
Wind | 2028 | Wind2028 | 5.3003 | 0 | 0 | mila_wind | wind | 2028 | 5.3003 | 0 | 0
Natural gas | 2021 | Natural gas2021 | 0 | 0 | 0 | nat_gas | gas | 2021 | 0 | 0 | 0
Natural gas | 2022 | Natural gas2022 | 0 | 0 | 0 | nat_gas | gas | 2022 | 0 | 0 | 0
Natural gas | 2023 | Natural gas2023 | 47.2929 | 343346.5266 | 24833.507 | nat_gas | gas | 2023 | 47.2929 | 343346.5266 | 24833.507
Natural gas | 2024 | Natural gas2024 | 45.0701 | 327208.8897 | 23666.3069 | nat_gas | gas | 2024 | 45.0701 | 327208.8897 | 23666.3069
Natural gas | 2025 | Natural gas2025 | 43.0067 | 312228.9578 | 22582.841 | nat_gas | gas | 2025 | 43.0067 | 312228.9578 | 22582.841
Natural gas | 2026 | Natural gas2026 | 35.9734 | 261167.1817 | 18889.6539 | nat_gas | gas | 2026 | 35.9734 | 261167.1817 | 18889.6539
Natural gas | 2027 | Natural gas2027 | 38.2615 | 277778.6896 | 20091.1281 | nat_gas | gas | 2027 | 38.2615 | 277778.6896 | 20091.1281
Natural gas | 2028 | Natural gas2028 | 39.691 | 288156.7664 | 20841.7518 | nat_gas | gas | 2028 | 39.691 | 288156.7664 | 20841.7518
Natural gas | 2029 | Natural gas2029 | 42.7721 | 310525.1258 | 22459.6066 | nat_gas | gas | 2029 | 42.7721 | 310525.1258 | 22459.6066
Natural gas | 2030 | Natural gas2030 | 5.8732 | 42639.1489 | 3083.9968 | nat_gas | gas | 2030 | 5.8732 | 42639.1489 | 3083.9968
Solar | 2021 | Solar2021 | 7.9038 | 0 | 0 | salomo_pv | sun | 2021 | 7.9038 | 0 | 0
Solar | 2022 | Solar2022 | 7.7198 | 0 | 0 | salomo_pv | sun | 2022 | 7.7198 | 0 | 0
Solar | 2023 | Solar2023 | 7.3298 | 0 | 0 | salomo_pv | sun | 2023 | 7.3298 | 0 | 0
Solar | 2024 | Solar2024 | 7.5768 | 0 | 0 | salomo_pv | sun | 2024 | 7.5768 | 0 | 0
Solar | 2025 | Solar2025 | 7.2436 | 0 | 0 | salomo_pv | sun | 2025 | 7.2436 | 0 | 0
Solar | 2026 | Solar2026 | 7.2128 | 0 | 0 | salomo_pv | sun | 2026 | 7.2128 | 0 | 0
Solar | 2027 | Solar2027 | 7.3153 | 0 | 0 | salomo_pv | sun | 2027 | 7.3153 | 0 | 0
Solar | 2028 | Solar2028 | 6.713 | 0 | 0 | salomo_pv | sun | 2028 | 6.713 | 0 | 0
Solar | 2029 | Solar2029 | 6.8237 | 0 | 0 | salomo_pv | sun | 2029 | 6.8237 | 0 | 0
Solar | 2030 | Solar2030 | 7.0999 | 0 | 0 | salomo_pv | sun | 2030 | 7.0999 | 0 | 0
Solar | 2021 | Solar2021 | 132.8106 | 0 | 0 | utility_pv | sun | 2021 | 132.8106 | 0 | 0
Solar | 2022 | Solar2022 | 129.5762 | 0 | 0 | utility_pv | sun | 2022 | 129.5762 | 0 | 0
Solar | 2023 | Solar2023 | 132.4677 | 0 | 0 | utility_pv | sun | 2023 | 132.4677 | 0 | 0
Solar | 2024 | Solar2024 | 127.8882 | 0 | 0 | utility_pv | sun | 2024 | 127.8882 | 0 | 0
Solar | 2025 | Solar2025 | 123.8708 | 0 | 0 | utility_pv | sun | 2025 | 123.8708 | 0 | 0
Solar | 2026 | Solar2026 | 113.8254 | 0 | 0 | utility_pv | sun | 2026 | 113.8254 | 0 | 0
Solar | 2027 | Solar2027 | 113.0975 | 0 | 0 | utility_pv | sun | 2027 | 113.0975 | 0 | 0
Solar | 2028 | Solar2028 | 131.6676 | 0 | 0 | utility_pv | sun | 2028 | 131.6676 | 0 | 0
Solar | 2029 | Solar2029 | 138.4305 | 0 | 0 | utility_pv | sun | 2029 | 138.4305 | 0 | 0
Solar | 2030 | Solar2030 | 143.4124 | 0 | 0 | utility_pv | sun | 2030 | 143.4124 | 0 | 0
Wind | 2021 | Wind2021 | 115.671 | 0 | 0 | wind | wind | 2021 | 115.671 | 0 | 0
Wind | 2022 | Wind2022 | 134.8266 | 0 | 0 | wind | wind | 2022 | 134.8266 | 0 | 0
Wind | 2023 | Wind2023 | 140.7451 | 0 | 0 | wind | wind | 2023 | 140.7451 | 0 | 0
Wind | 2024 | Wind2024 | 165.7977 | 0 | 0 | wind | wind | 2024 | 165.7977 | 0 | 0
Wind | 2025 | Wind2025 | 189.3695 | 0 | 0 | wind | wind | 2025 | 189.3695 | 0 | 0
Wind | 2026 | Wind2026 | 238.0359 | 0 | 0 | wind | wind | 2026 | 238.0359 | 0 | 0
Wind | 2027 | Wind2027 | 242.3267 | 0 | 0 | wind | wind | 2027 | 242.3267 | 0 | 0
Wind | 2028 | Wind2028 | 231.9964 | 0 | 0 | wind | wind | 2028 | 231.9964 | 0 | 0
Wind | 2029 | Wind2029 | 231.6649 | 0 | 0 | wind | wind | 2029 | 231.6649 | 0 | 0
Wind | 2030 | Wind2030 | 228.049 | 0 | 0 | wind | wind | 2030 | 228.049 | 0 | 0

## Dispatch
Technology | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0 | 1.739 | 1.8426 | 1.7511 | 1.7541 | 1.4226
Seacable | 183.3485 | 176.1452 | 174.6681 | 163.6317 | 154.0642 | 130.718 | 133.2894 | 132.1525 | 136.2391 | 178.6999
Diesel | 1.1817 | 1.2441 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fueloil | 45.893 | 45.1093 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural gas | 0 | 0 | 47.2929 | 45.0701 | 43.0067 | 35.9734 | 38.2615 | 39.691 | 42.7721 | 5.8732
Solar | 140.7144 | 137.2959 | 139.7975 | 135.465 | 131.1144 | 121.0382 | 120.4128 | 138.3806 | 145.2542 | 150.5123
Wind | 121.8264 | 140.7546 | 146.5151 | 171.5435 | 194.9874 | 243.6101 | 247.8991 | 237.2967 | 231.6649 | 228.049
TOTAL | 492.964 | 500.549 | 508.2736 | 515.7103 | 523.1728 | 531.0329 | 539.5377 | 547.2118 | 555.6208 | 562.8834 | Check if it matches ElectricityCost!
Technology | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Wind | 24.71% | 28.12% | 28.83% | 33.26% | 37.27% | 45.7% | 45.76% | 43.2% | 41.54% | 40.39%
Solar PV | 28.54% | 27.43% | 27.5% | 26.27% | 25.06% | 22.71% | 22.23% | 25.19% | 26.05% | 26.66%
Sea-cable | 37.19% | 35.19% | 34.36% | 31.73% | 29.45% | 24.52% | 24.61% | 24.06% | 24.43% | 31.65%
Natural gas | 0% | 0% | 9.305% | 8.739% | 8.22% | 6.748% | 7.063% | 7.226% | 7.67% | 1.04%
Fueloil | 9.31% | 9.012% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Diesel | 0.2397% | 0.2485% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Battery | 0% | 0% | 0% | 0% | 0% | 0.3262% | 0.3401% | 0.3188% | 0.3145% | 0.252%
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Renewables | 9.549% | 9.26% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Fossil fuel | 65.74% | 62.62% | 71.17% | 66.74% | 62.73% | 53.98% | 53.9% | 56.48% | 58.14% | 59.35%
Seacable | 24.71% | 28.12% | 28.83% | 33.26% | 37.27% | 45.7% | 45.76% | 43.2% | 41.54% | 40.39%

## ElectricityCost
PERIOD | SystemCostPerPeriod_NPV | SystemCostPerPeriod_Real | EnergyCostReal_per_MWh | SystemDemand_MWh
2021 | 54100578.6318 | 55182590.2044 | 111.9404 | 492964.01
2022 | 53419620.4988 | 55577773.167 | 111.0336 | 500549
2023 | 39067875.5371 | 41459142.0629 | 81.5685 | 508273.64
2024 | 39085794.75 | 42307721.2365 | 82.0378 | 515710.3
2025 | 39155910.4936 | 43231289.1077 | 82.6329 | 523172.79
2026 | 39272993.4378 | 44227769.3017 | 83.2863 | 531032.88
2027 | 39451306.6786 | 45317150.5517 | 83.9926 | 539537.67
2028 | 39703497.9422 | 46518975.8226 | 85.0109 | 547211.77
2029 | 39879942.4355 | 47660222.8418 | 85.7783 | 555620.8
2030 | 40758276.6178 | 49684111.7657 | 88.2672 | 562883.37
Total | 423895797 | 471166746.1 | 89.2876 | 5276956.23
component | npv_cost | Cost (million Euros)
TotalGenFixedCosts | 286527707.4317 | 286.5277
StorageEnergyInstallCosts | 590874.5233 | 0.59087
GenVariableOMCostsInTP | 1923112.4854 | 1.9231
FuelCostsPerTP | 134854102.5828 | 134.8541