## buildGen
Technology | Year | VLOOKUP_Serach | Capacity (MW) | GEN_BLD_YRS_1 | GEN_BLD_YRS_2 | BuildGen
Battery_Utility_1h | 2021 | Battery2021 | 0 | Battery_Utility_1h | 2021 | 0
Battery_Utility_1h | 2022 | Battery2022 | 0 | Battery_Utility_1h | 2022 | 0
Battery_Utility_1h | 2023 | Battery2023 | 0 | Battery_Utility_1h | 2023 | 0
Battery_Utility_1h | 2024 | Battery2024 | 0 | Battery_Utility_1h | 2024 | 0
Battery_Utility_1h | 2025 | Battery2025 | 0 | Battery_Utility_1h | 2025 | 0
Battery_Utility_1h | 2026 | Battery2026 | 3 | Battery_Utility_1h | 2026 | 3
Battery_Utility_1h | 2027 | Battery2027 | 0 | Battery_Utility_1h | 2027 | 0
Battery_Utility_1h | 2028 | Battery2028 | 0 | Battery_Utility_1h | 2028 | 0
Battery_Utility_1h | 2029 | Battery2029 | 0 | Battery_Utility_1h | 2029 | 0
Battery_Utility_1h | 2030 | Battery2030 | 0 | Battery_Utility_1h | 2030 | 0
Battery_Utility_2h | 2021 | Battery2021 | 0 | Battery_Utility_2h | 2021 | 0
Battery_Utility_2h | 2022 | Battery2022 | 0 | Battery_Utility_2h | 2022 | 0
Battery_Utility_2h | 2023 | Battery2023 | 0 | Battery_Utility_2h | 2023 | 0
Battery_Utility_2h | 2024 | Battery2024 | 0 | Battery_Utility_2h | 2024 | 0
Battery_Utility_2h | 2025 | Battery2025 | 0 | Battery_Utility_2h | 2025 | 0
Battery_Utility_2h | 2026 | Battery2026 | 0 | Battery_Utility_2h | 2026 | 0
Battery_Utility_2h | 2027 | Battery2027 | 0 | Battery_Utility_2h | 2027 | 0
Battery_Utility_2h | 2028 | Battery2028 | 0 | Battery_Utility_2h | 2028 | 0
Battery_Utility_2h | 2029 | Battery2029 | 0 | Battery_Utility_2h | 2029 | 0
Battery_Utility_2h | 2030 | Battery2030 | 0 | Battery_Utility_2h | 2030 | 0
Battery_Utility_4h | 2021 | Battery2021 | 0 | Battery_Utility_4h | 2021 | 0
Battery_Utility_4h | 2022 | Battery2022 | 0 | Battery_Utility_4h | 2022 | 0
Battery_Utility_4h | 2023 | Battery2023 | 0 | Battery_Utility_4h | 2023 | 0
Battery_Utility_4h | 2024 | Battery2024 | 0 | Battery_Utility_4h | 2024 | 0
Battery_Utility_4h | 2025 | Battery2025 | 0 | Battery_Utility_4h | 2025 | 0
Battery_Utility_4h | 2026 | Battery2026 | 0 | Battery_Utility_4h | 2026 | 0
Battery_Utility_4h | 2027 | Battery2027 | 0 | Battery_Utility_4h | 2027 | 0
Battery_Utility_4h | 2028 | Battery2028 | 0 | Battery_Utility_4h | 2028 | 0
Battery_Utility_4h | 2029 | Battery2029 | 0 | Battery_Utility_4h | 2029 | 0
Battery_Utility_4h | 2030 | Battery2030 | 0 | Battery_Utility_4h | 2030 | 0
Diesel_GE | 2020 | Diesel2020 | 76 | Diesel_GE | 2003 | 76
Diesel_P&W | 2020 | Diesel2020 | 148.2 | Diesel_P&W | 2003 | 148.2
Fueloil | 2020 | Fueloil2020 | 47.4 | Fueloil_MB&W | 2003 | 47.4
NG_GT | 2021 | NG_GT2021 | 0 | NG_GT | 2021 | 0
NG_GT | 2022 | NG_GT2022 | 0 | NG_GT | 2022 | 0
NG_GT | 2023 | NG_GT2023 | 70 | NG_GT | 2023 | 70
NG_GT | 2024 | NG_GT2024 | 0 | NG_GT | 2024 | 0
NG_GT | 2025 | NG_GT2025 | 0 | NG_GT | 2025 | 0
NG_GT | 2026 | NG_GT2026 | 0 | NG_GT | 2026 | 0
NG_GT | 2027 | NG_GT2027 | 0 | NG_GT | 2027 | 0
NG_GT | 2028 | NG_GT2028 | 0 | NG_GT | 2028 | 0
NG_GT | 2029 | NG_GT2029 | 0 | NG_GT | 2029 | 0
NG_GT | 2030 | NG_GT2030 | 10 | NG_GT | 2030 | 10
PV_SonSalomo | 2020 | PV_SonSalomo2020 | 5.1 | PV_SonSalomo | 2008 | 5.1
Seacable | 2020 | Seacable2020 | 35 | Seacable | 2020 | 35
Seacable | 2021 | Seacable2021 | 0 | Seacable | 2021 | 0
Seacable | 2022 | Seacable2022 | 0 | Seacable | 2022 | 0
Seacable | 2023 | Seacable2023 | 0 | Seacable | 2023 | 0
Seacable | 2024 | Seacable2024 | 0 | Seacable | 2024 | 0
Seacable | 2025 | Seacable2025 | 0 | Seacable | 2025 | 0
Seacable | 2026 | Seacable2026 | 0 | Seacable | 2026 | 0
Seacable | 2027 | Seacable2027 | 0 | Seacable | 2027 | 0
Seacable | 2028 | Seacable2028 | 0 | Seacable | 2028 | 0
Seacable | 2029 | Seacable2029 | 0 | Seacable | 2029 | 0
Seacable | 2030 | Seacable2030 | 0 | Seacable | 2030 | 0
Utility_PV | 2021 | Utility_PV2021 | 62 | Utility_PV | 2021 | 62
Utility_PV | 2022 | Utility_PV2022 | 0 | Utility_PV | 2022 | 0
Utility_PV | 2023 | Utility_PV2023 | 0 | Utility_PV | 2023 | 0
Utility_PV | 2024 | Utility_PV2024 | 0 | Utility_PV | 2024 | 0
Utility_PV | 2025 | Utility_PV2025 | 0 | Utility_PV | 2025 | 0
Utility_PV | 2026 | Utility_PV2026 | 0 | Utility_PV | 2026 | 0
Utility_PV | 2027 | Utility_PV2027 | 0 | Utility_PV | 2027 | 0
Utility_PV | 2028 | Utility_PV2028 | 4 | Utility_PV | 2028 | 4
Utility_PV | 2029 | Utility_PV2029 | 2 | Utility_PV | 2029 | 2
Utility_PV | 2030 | Utility_PV2030 | 0 | Utility_PV | 2030 | 0
Wind_Mila | 2020 | Wind_Mila2020 | 3.2 | Wind_Mila | 2004 | 3.2
Wind_OnShore | 2021 | Wind_OnShore2021 | 41.4 | Wind_OnShore | 2021 | 41.4
Wind_OnShore | 2022 | Wind_OnShore2022 | 3.45 | Wind_OnShore | 2022 | 3.45
Wind_OnShore | 2023 | Wind_OnShore2023 | 0 | Wind_OnShore | 2023 | 0
Wind_OnShore | 2024 | Wind_OnShore2024 | 13.8 | Wind_OnShore | 2024 | 13.8
Wind_OnShore | 2025 | Wind_OnShore2025 | 6.9 | Wind_OnShore | 2025 | 6.9
Wind_OnShore | 2026 | Wind_OnShore2026 | 13.8 | Wind_OnShore | 2026 | 13.8
Wind_OnShore | 2027 | Wind_OnShore2027 | 0 | Wind_OnShore | 2027 | 0
Wind_OnShore | 2028 | Wind_OnShore2028 | 0 | Wind_OnShore | 2028 | 0
Wind_OnShore | 2029 | Wind_OnShore2029 | 10.35 | Wind_OnShore | 2029 | 10.35
Wind_OnShore | 2030 | Wind_OnShore2030 | 6.9 | Wind_OnShore | 2030 | 6.9

## Capacity
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0
CCGT
Diesel | 76
Fueloil | 47.4
NG_GT |  | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 10
PV_SonSalomo | 5.1
Seacable | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utility_PV |  | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 2 | 0
Wind_Mila | 3.2
Wind_OnShore |  | 41.4 | 3.45 | 0 | 13.8 | 6.9 | 13.8 | 0 | 0 | 10.35 | 6.9
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0
CCGT | 0
Diesel | 76 |  |  | -76 | 0
Fueloil | 47.4 |  |  | -47.4 | 0
OCGT | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 10
PV - Son Salomo | 5.1
Seacable | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar PV (new) | 0 | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 2 | 0
Wind - Mila | 3.2 | [7 empty] | -3.2 | 0
Wind (new) | 0 | 41.4 | 3.45 | 0 | 13.8 | 6.9 | 13.8 | 0 | 0 | 10.35 | 6.9
CUMULATIVE
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 3 | 3 | 3
CCGT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Diesel | 76 | 76 | 76 | -76 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fueloil | 47.4 | 47.4 | 47.4 | -47.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OCGT | 0 | 0 | 0 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 80
PV - Son Salomo | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1
Seacable | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
Solar PV (new) | 0 | 62 | 62 | 62 | 62 | 62 | 62 | 62 | 66 | 68 | 68
Wind - Mila | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | -3.2 | 0 | 0
Wind (new) | 0 | 41.4 | 44.85 | 44.85 | 58.65 | 65.55 | 79.35 | 79.35 | 79.35 | 89.7 | 96.6
Installed Cap.
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Wind | 3.2 | 44.6 | 48.05 | 48.05 | 61.85 | 68.75 | 82.55 | 82.55 | 76.15 | 89.7 | 96.6
Solar PV | 5.1 | 67.1 | 67.1 | 67.1 | 67.1 | 67.1 | 67.1 | 67.1 | 71.1 | 73.1 | 73.1
Sea-cable | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
Nat. gas (OCGT) | 0 | 0 | 0 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 80
Nat. gas (CCGT) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fueloil | 47.4 | 47.4 | 47.4
Diesel | 76 | 76 | 76
Battery | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 3 | 3 | 3

## dispatch_annual
gen_energy_source | period | VLOOKUP | Energy_GWh_typical_yr | VariableCost_per_yr | DispatchEmissions_tCO2_per_typical_yr | gen_tech | gen_energy_source | period | Energy_GWh_typical_yr | VariableCost_per_yr | DispatchEmissions_tCO2_per_typical_yr
Battery | 2021 | Battery2021 | 0 | 0 | 0 | bat_1h | battery | 2021 | 0 | 0 | 0
Battery | 2022 | Battery2022 | 0 | 0 | 0 | bat_1h | battery | 2022 | 0 | 0 | 0
Battery | 2023 | Battery2023 | 0 | 0 | 0 | bat_1h | battery | 2023 | 0 | 0 | 0
Battery | 2024 | Battery2024 | 0 | 0 | 0 | bat_1h | battery | 2024 | 0 | 0 | 0
Battery | 2025 | Battery2025 | 0 | 0 | 0 | bat_1h | battery | 2025 | 0 | 0 | 0
Battery | 2026 | Battery2026 | 2.0972 | 0 | 0 | bat_1h | battery | 2026 | 2.0972 | 0 | 0
Battery | 2027 | Battery2027 | 1.9711 | 0 | 0 | bat_1h | battery | 2027 | 1.9711 | 0 | 0
Battery | 2028 | Battery2028 | 2.148 | 0 | 0 | bat_1h | battery | 2028 | 2.148 | 0 | 0
Battery | 2029 | Battery2029 | 2.2403 | 0 | 0 | bat_1h | battery | 2029 | 2.2403 | 0 | 0
Battery | 2030 | Battery2030 | 2.1876 | 0 | 0 | bat_1h | battery | 2030 | 2.1876 | 0 | 0
Battery | 2021 | Battery2021 | 0 | 0 | 0 | bat_2h | battery | 2021 | 0 | 0 | 0
Battery | 2022 | Battery2022 | 0 | 0 | 0 | bat_2h | battery | 2022 | 0 | 0 | 0
Battery | 2023 | Battery2023 | 0 | 0 | 0 | bat_2h | battery | 2023 | 0 | 0 | 0
Battery | 2024 | Battery2024 | 0 | 0 | 0 | bat_2h | battery | 2024 | 0 | 0 | 0
Battery | 2025 | Battery2025 | 0 | 0 | 0 | bat_2h | battery | 2025 | 0 | 0 | 0
Battery | 2026 | Battery2026 | 0 | 0 | 0 | bat_2h | battery | 2026 | 0 | 0 | 0
Battery | 2027 | Battery2027 | 0 | 0 | 0 | bat_2h | battery | 2027 | 0 | 0 | 0
Battery | 2028 | Battery2028 | 0 | 0 | 0 | bat_2h | battery | 2028 | 0 | 0 | 0
Battery | 2029 | Battery2029 | 0 | 0 | 0 | bat_2h | battery | 2029 | 0 | 0 | 0
Battery | 2030 | Battery2030 | 0 | 0 | 0 | bat_2h | battery | 2030 | 0 | 0 | 0
Battery | 2021 | Battery2021 | 0 | 0 | 0 | bat_4h | battery | 2021 | 0 | 0 | 0
Battery | 2022 | Battery2022 | 0 | 0 | 0 | bat_4h | battery | 2022 | 0 | 0 | 0
Battery | 2023 | Battery2023 | 0 | 0 | 0 | bat_4h | battery | 2023 | 0 | 0 | 0
Battery | 2024 | Battery2024 | 0 | 0 | 0 | bat_4h | battery | 2024 | 0 | 0 | 0
Battery | 2025 | Battery2025 | 0 | 0 | 0 | bat_4h | battery | 2025 | 0 | 0 | 0
Battery | 2026 | Battery2026 | 0 | 0 | 0 | bat_4h | battery | 2026 | 0 | 0 | 0
Battery | 2027 | Battery2027 | 0 | 0 | 0 | bat_4h | battery | 2027 | 0 | 0 | 0
Battery | 2028 | Battery2028 | 0 | 0 | 0 | bat_4h | battery | 2028 | 0 | 0 | 0
Battery | 2029 | Battery2029 | 0 | 0 | 0 | bat_4h | battery | 2029 | 0 | 0 | 0
Battery | 2030 | Battery2030 | 0 | 0 | 0 | bat_4h | battery | 2030 | 0 | 0 | 0
Seacable | 2021 | Seacable2021 | 181.2301 | 0 | 35724.0755 | cable | cable | 2021 | 181.2301 | 0 | 35724.0755
Seacable | 2022 | Seacable2022 | 179.2035 | 0 | 35324.596 | cable | cable | 2022 | 179.2035 | 0 | 35324.596
Seacable | 2023 | Seacable2023 | 182.4266 | 0 | 35959.933 | cable | cable | 2023 | 182.4266 | 0 | 35959.933
Seacable | 2024 | Seacable2024 | 166.5036 | 0 | 32821.1799 | cable | cable | 2024 | 166.5036 | 0 | 32821.1799
Seacable | 2025 | Seacable2025 | 161.0088 | 0 | 31738.0552 | cable | cable | 2025 | 161.0088 | 0 | 31738.0551
Seacable | 2026 | Seacable2026 | 147.9857 | 0 | 29170.9398 | cable | cable | 2026 | 147.9857 | 0 | 29170.9398
Seacable | 2027 | Seacable2027 | 150.7644 | 0 | 29718.6879 | cable | cable | 2027 | 150.7644 | 0 | 29718.6879
Seacable | 2028 | Seacable2028 | 150.9347 | 0 | 29752.2397 | cable | cable | 2028 | 150.9347 | 0 | 29752.2397
Seacable | 2029 | Seacable2029 | 143.3059 | 0 | 28248.4637 | cable | cable | 2029 | 143.3059 | 0 | 28248.4637
Seacable | 2030 | Seacable2030 | 139.2639 | 0 | 27451.7051 | cable | cable | 2030 | 139.2639 | 0 | 27451.7051
Diesel | 2021 | Diesel2021 | 1.1817 | 0 | 972.4193 | diesel | diesel | 2021 | 1.1817 | 0 | 972.4193
Diesel | 2022 | Diesel2022 | 1.3605 | 0 | 1119.5892 | diesel | diesel | 2022 | 1.3605 | 0 | 1119.5892
Fueloil | 2021 | Fueloil2021 | 45.4017 | 0 | 39277.0461 | fueloil | fueloil | 2021 | 45.4017 | 0 | 39277.0461
Fueloil | 2022 | Fueloil2022 | 46.3691 | 0 | 40113.8712 | fueloil | fueloil | 2022 | 46.3691 | 0 | 40113.8712
Wind | 2021 | Wind2021 | 6.0163 | 0 | 0 | mila_wind | wind | 2021 | 6.0163 | 0 | 0
Wind | 2022 | Wind2022 | 5.6508 | 0 | 0 | mila_wind | wind | 2022 | 5.6508 | 0 | 0
Wind | 2023 | Wind2023 | 6.077 | 0 | 0 | mila_wind | wind | 2023 | 6.077 | 0 | 0
Wind | 2024 | Wind2024 | 5.7566 | 0 | 0 | mila_wind | wind | 2024 | 5.7566 | 0 | 0
Wind | 2025 | Wind2025 | 5.6401 | 0 | 0 | mila_wind | wind | 2025 | 5.6401 | 0 | 0
Wind | 2026 | Wind2026 | 5.3946 | 0 | 0 | mila_wind | wind | 2026 | 5.3946 | 0 | 0
Wind | 2027 | Wind2027 | 5.3688 | 0 | 0 | mila_wind | wind | 2027 | 5.3688 | 0 | 0
Wind | 2028 | Wind2028 | 5.1935 | 0 | 0 | mila_wind | wind | 2028 | 5.1935 | 0 | 0
Natural gas | 2021 | Natural gas2021 | 0 | 0 | 0 | nat_gas | gas | 2021 | 0 | 0 | 0
Natural gas | 2022 | Natural gas2022 | 0 | 0 | 0 | nat_gas | gas | 2022 | 0 | 0 | 0
Natural gas | 2023 | Natural gas2023 | 50.6136 | 367454.5182 | 26577.1856 | nat_gas | gas | 2023 | 50.6136 | 367454.5182 | 26577.1856
Natural gas | 2024 | Natural gas2024 | 46.1763 | 335239.7964 | 24247.1649 | nat_gas | gas | 2024 | 46.1763 | 335239.7964 | 24247.1649
Natural gas | 2025 | Natural gas2025 | 45.5586 | 330755.0839 | 23922.7954 | nat_gas | gas | 2025 | 45.5586 | 330755.0839 | 23922.7954
Natural gas | 2026 | Natural gas2026 | 41.0369 | 297927.6508 | 21548.4586 | nat_gas | gas | 2026 | 41.0369 | 297927.6508 | 21548.4586
Natural gas | 2027 | Natural gas2027 | 43.6168 | 316658.3032 | 22903.2059 | nat_gas | gas | 2027 | 43.6168 | 316658.3032 | 22903.2059
Natural gas | 2028 | Natural gas2028 | 45.2878 | 328789.6267 | 23780.6381 | nat_gas | gas | 2028 | 45.2878 | 328789.6267 | 23780.6382
Natural gas | 2029 | Natural gas2029 | 44.8868 | 325878.4018 | 23570.0756 | nat_gas | gas | 2029 | 44.8868 | 325878.4018 | 23570.0756
Natural gas | 2030 | Natural gas2030 | 44.9281 | 326178.3465 | 23591.7699 | nat_gas | gas | 2030 | 44.9281 | 326178.3465 | 23591.7699
Solar | 2021 | Solar2021 | 7.6302 | 0 | 0 | salomo_pv | sun | 2021 | 7.6302 | 0 | 0
Solar | 2022 | Solar2022 | 7.2892 | 0 | 0 | salomo_pv | sun | 2022 | 7.2892 | 0 | 0
Solar | 2023 | Solar2023 | 7.9687 | 0 | 0 | salomo_pv | sun | 2023 | 7.9687 | 0 | 0
Solar | 2024 | Solar2024 | 7.4063 | 0 | 0 | salomo_pv | sun | 2024 | 7.4063 | 0 | 0
Solar | 2025 | Solar2025 | 7.1857 | 0 | 0 | salomo_pv | sun | 2025 | 7.1857 | 0 | 0
Solar | 2026 | Solar2026 | 7.0822 | 0 | 0 | salomo_pv | sun | 2026 | 7.0822 | 0 | 0
Solar | 2027 | Solar2027 | 7.0835 | 0 | 0 | salomo_pv | sun | 2027 | 7.0835 | 0 | 0
Solar | 2028 | Solar2028 | 6.7947 | 0 | 0 | salomo_pv | sun | 2028 | 6.7947 | 0 | 0
Solar | 2029 | Solar2029 | 6.8899 | 0 | 0 | salomo_pv | sun | 2029 | 6.8899 | 0 | 0
Solar | 2030 | Solar2030 | 6.8308 | 0 | 0 | salomo_pv | sun | 2030 | 6.8308 | 0 | 0
Solar | 2021 | Solar2021 | 134.769 | 0 | 0 | utility_pv | sun | 2021 | 134.769 | 0 | 0
Solar | 2022 | Solar2022 | 138.111 | 0 | 0 | utility_pv | sun | 2022 | 138.111 | 0 | 0
Solar | 2023 | Solar2023 | 137.1477 | 0 | 0 | utility_pv | sun | 2023 | 137.1477 | 0 | 0
Solar | 2024 | Solar2024 | 134.7083 | 0 | 0 | utility_pv | sun | 2024 | 134.7083 | 0 | 0
Solar | 2025 | Solar2025 | 127.601 | 0 | 0 | utility_pv | sun | 2025 | 127.601 | 0 | 0
Solar | 2026 | Solar2026 | 125.0073 | 0 | 0 | utility_pv | sun | 2026 | 125.0073 | 0 | 0
Solar | 2027 | Solar2027 | 121.5692 | 0 | 0 | utility_pv | sun | 2027 | 121.5692 | 0 | 0
Solar | 2028 | Solar2028 | 129.2129 | 0 | 0 | utility_pv | sun | 2028 | 129.2129 | 0 | 0
Solar | 2029 | Solar2029 | 128.2403 | 0 | 0 | utility_pv | sun | 2029 | 128.2403 | 0 | 0
Solar | 2030 | Solar2030 | 130.6892 | 0 | 0 | utility_pv | sun | 2030 | 130.6892 | 0 | 0
Wind | 2021 | Wind2021 | 116.735 | 0 | 0 | wind | wind | 2021 | 116.735 | 0 | 0
Wind | 2022 | Wind2022 | 122.5648 | 0 | 0 | wind | wind | 2022 | 122.5648 | 0 | 0
Wind | 2023 | Wind2023 | 124.0401 | 0 | 0 | wind | wind | 2023 | 124.0401 | 0 | 0
Wind | 2024 | Wind2024 | 155.1592 | 0 | 0 | wind | wind | 2024 | 155.1592 | 0 | 0
Wind | 2025 | Wind2025 | 176.1786 | 0 | 0 | wind | wind | 2025 | 176.1786 | 0 | 0
Wind | 2026 | Wind2026 | 204.8963 | 0 | 0 | wind | wind | 2026 | 204.8963 | 0 | 0
Wind | 2027 | Wind2027 | 211.4827 | 0 | 0 | wind | wind | 2027 | 211.4827 | 0 | 0
Wind | 2028 | Wind2028 | 210.1672 | 0 | 0 | wind | wind | 2028 | 210.1672 | 0 | 0
Wind | 2029 | Wind2029 | 232.6932 | 0 | 0 | wind | wind | 2029 | 232.6932 | 0 | 0
Wind | 2030 | Wind2030 | 241.5573 | 0 | 0 | wind | wind | 2030 | 241.5573 | 0 | 0

## Dispatch
Technology | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0 | 2.0972 | 1.9711 | 2.148 | 2.2403 | 2.1876
Seacable | 181.2301 | 179.2035 | 182.4266 | 166.5036 | 161.0088 | 147.9857 | 150.7644 | 150.9347 | 143.3059 | 139.2639
Diesel | 1.1817 | 1.3605 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fueloil | 45.4017 | 46.3691 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural gas | 0 | 0 | 50.6136 | 46.1763 | 45.5586 | 41.0369 | 43.6168 | 45.2878 | 44.8868 | 44.9281
Solar | 142.3992 | 145.4002 | 145.1164 | 142.1146 | 134.7867 | 132.0894 | 128.6526 | 136.0076 | 135.1302 | 137.52
Wind | 122.7513 | 128.2157 | 130.1171 | 160.9158 | 181.8187 | 210.291 | 216.8516 | 215.3607 | 232.6932 | 241.5573
TOTAL | 492.964 | 500.549 | 508.2736 | 515.7103 | 523.1728 | 531.0329 | 539.5377 | 547.2118 | 555.6208 | 562.8834 | Check if it matches ElectricityCost!
Technology | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Wind | 24.9% | 25.62% | 25.6% | 31.2% | 34.75% | 39.42% | 40.02% | 39.18% | 41.68% | 42.72%
Solar PV | 28.89% | 29.05% | 28.55% | 27.56% | 25.76% | 24.76% | 23.74% | 24.74% | 24.21% | 24.32%
Sea-cable | 36.76% | 35.8% | 35.89% | 32.29% | 30.78% | 27.74% | 27.82% | 27.46% | 25.67% | 24.63%
Natural gas | 0% | 0% | 9.958% | 8.954% | 8.708% | 7.692% | 8.05% | 8.238% | 8.041% | 7.945%
Fueloil | 9.21% | 9.264% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Diesel | 0.2397% | 0.2718% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Battery | 0% | 0% | 0% | 0% | 0% | 0.3931% | 0.3638% | 0.3907% | 0.4013% | 0.3869%
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Renewables | 53.79% | 54.66% | 54.15% | 58.76% | 60.52% | 64.18% | 63.76% | 63.92% | 65.89% | 67.04%
Fossil fuel | 9.45% | 9.535% | 9.958% | 8.954% | 8.708% | 8.085% | 8.413% | 8.629% | 8.442% | 8.332%
Seacable | 36.76% | 35.8% | 35.89% | 32.29% | 30.78% | 27.74% | 27.82% | 27.46% | 25.67% | 24.63%

## ElectricityCost
PERIOD | SystemCostPerPeriod_NPV | SystemCostPerPeriod_Real | EnergyCostReal_per_MWh | SystemDemand_MWh
2021 | 54101709.3041 | 55183743.4901 | 111.9427 | 492964.01
2022 | 53509901.1714 | 55671701.1787 | 111.2213 | 500549
2023 | 38473195.2926 | 40828062.6301 | 80.3269 | 508273.64
2024 | 38050733.3498 | 41187337.4894 | 79.8653 | 515710.3
2025 | 37777668.8942 | 41709599.0157 | 79.7243 | 523172.79
2026 | 37546636.3092 | 42283610.7812 | 79.6252 | 531032.88
2027 | 37280353.9323 | 42823408.2469 | 79.3706 | 539537.67
2028 | 37011163.621 | 43364477.0584 | 79.2462 | 547211.77
2029 | 36493388.2177 | 43612977.0628 | 78.4941 | 555620.8
2030 | 36721297.9009 | 44763057.2361 | 79.5246 | 562883.37
Total | 406966048 | 451427974.2 | 85.547 | 5276956.23
component | npv_cost | Cost (million Euros)
TotalGenFixedCosts | 273628777.3552 | 273.6288
StorageEnergyInstallCosts | 886311.7849 | 0.88631
GenVariableOMCostsInTP | 2316645.8601 | 2.3166
FuelCostsPerTP | 130134312.993 | 130.1343