## buildGen
Technology | Year | VLOOKUP_Serach | Capacity (MW) | GEN_BLD_YRS_1 | GEN_BLD_YRS_2 | BuildGen
Battery_Utility_1h | 2021 | Battery2021 | 0 | Battery_Utility_1h | 2021 | 0
Battery_Utility_1h | 2022 | Battery2022 | 0 | Battery_Utility_1h | 2022 | 0
Battery_Utility_1h | 2023 | Battery2023 | 0 | Battery_Utility_1h | 2023 | 0
Battery_Utility_1h | 2024 | Battery2024 | 0 | Battery_Utility_1h | 2024 | 0
Battery_Utility_1h | 2025 | Battery2025 | 0 | Battery_Utility_1h | 2025 | 0
Battery_Utility_1h | 2026 | Battery2026 | 3 | Battery_Utility_1h | 2026 | 3
Battery_Utility_1h | 2027 | Battery2027 | 0 | Battery_Utility_1h | 2027 | 0
Battery_Utility_1h | 2028 | Battery2028 | 0 | Battery_Utility_1h | 2028 | 0
Battery_Utility_1h | 2029 | Battery2029 | 0 | Battery_Utility_1h | 2029 | 0
Battery_Utility_1h | 2030 | Battery2030 | 0 | Battery_Utility_1h | 2030 | 0
Battery_Utility_2h | 2021 | Battery2021 | 0 | Battery_Utility_2h | 2021 | 0
Battery_Utility_2h | 2022 | Battery2022 | 0 | Battery_Utility_2h | 2022 | 0
Battery_Utility_2h | 2023 | Battery2023 | 0 | Battery_Utility_2h | 2023 | 0
Battery_Utility_2h | 2024 | Battery2024 | 0 | Battery_Utility_2h | 2024 | 0
Battery_Utility_2h | 2025 | Battery2025 | 0 | Battery_Utility_2h | 2025 | 0
Battery_Utility_2h | 2026 | Battery2026 | 0 | Battery_Utility_2h | 2026 | 0
Battery_Utility_2h | 2027 | Battery2027 | 0 | Battery_Utility_2h | 2027 | 0
Battery_Utility_2h | 2028 | Battery2028 | 0 | Battery_Utility_2h | 2028 | 0
Battery_Utility_2h | 2029 | Battery2029 | 0 | Battery_Utility_2h | 2029 | 0
Battery_Utility_2h | 2030 | Battery2030 | 0 | Battery_Utility_2h | 2030 | 0
Battery_Utility_4h | 2021 | Battery2021 | 0 | Battery_Utility_4h | 2021 | 0
Battery_Utility_4h | 2022 | Battery2022 | 0 | Battery_Utility_4h | 2022 | 0
Battery_Utility_4h | 2023 | Battery2023 | 0 | Battery_Utility_4h | 2023 | 0
Battery_Utility_4h | 2024 | Battery2024 | 0 | Battery_Utility_4h | 2024 | 0
Battery_Utility_4h | 2025 | Battery2025 | 0 | Battery_Utility_4h | 2025 | 0
Battery_Utility_4h | 2026 | Battery2026 | 0 | Battery_Utility_4h | 2026 | 0
Battery_Utility_4h | 2027 | Battery2027 | 0 | Battery_Utility_4h | 2027 | 0
Battery_Utility_4h | 2028 | Battery2028 | 0 | Battery_Utility_4h | 2028 | 0
Battery_Utility_4h | 2029 | Battery2029 | 0 | Battery_Utility_4h | 2029 | 0
Battery_Utility_4h | 2030 | Battery2030 | 0 | Battery_Utility_4h | 2030 | 0
Diesel_GE | 2020 | Diesel2020 | 76 | Diesel_GE | 2003 | 76
Diesel_P&W | 2020 | Diesel2020 | 148.2 | Diesel_P&W | 2003 | 148.2
Fueloil | 2020 | Fueloil2020 | 47.4 | Fueloil_MB&W | 2003 | 47.4
NG_GT | 2021 | NG_GT2021 | 0 | NG_GT | 2021 | 0
NG_GT | 2022 | NG_GT2022 | 0 | NG_GT | 2022 | 0
NG_GT | 2023 | NG_GT2023 | 70 | NG_GT | 2023 | 70
NG_GT | 2024 | NG_GT2024 | 0 | NG_GT | 2024 | 0
NG_GT | 2025 | NG_GT2025 | 0 | NG_GT | 2025 | 0
NG_GT | 2026 | NG_GT2026 | 0 | NG_GT | 2026 | 0
NG_GT | 2027 | NG_GT2027 | 0 | NG_GT | 2027 | 0
NG_GT | 2028 | NG_GT2028 | 0 | NG_GT | 2028 | 0
NG_GT | 2029 | NG_GT2029 | 0 | NG_GT | 2029 | 0
NG_GT | 2030 | NG_GT2030 | 10 | NG_GT | 2030 | 10
PV_SonSalomo | 2020 | PV_SonSalomo2020 | 5.1 | PV_SonSalomo | 2008 | 5.1
Seacable | 2020 | Seacable2020 | 35 | Seacable | 2020 | 35
Seacable | 2021 | Seacable2021 | 0 | Seacable | 2021 | 0
Seacable | 2022 | Seacable2022 | 0 | Seacable | 2022 | 0
Seacable | 2023 | Seacable2023 | 0 | Seacable | 2023 | 0
Seacable | 2024 | Seacable2024 | 0 | Seacable | 2024 | 0
Seacable | 2025 | Seacable2025 | 0 | Seacable | 2025 | 0
Seacable | 2026 | Seacable2026 | 0 | Seacable | 2026 | 0
Seacable | 2027 | Seacable2027 | 0 | Seacable | 2027 | 0
Seacable | 2028 | Seacable2028 | 0 | Seacable | 2028 | 0
Seacable | 2029 | Seacable2029 | 0 | Seacable | 2029 | 0
Seacable | 2030 | Seacable2030 | 0 | Seacable | 2030 | 0
Utility_PV | 2021 | Utility_PV2021 | 62 | Utility_PV | 2021 | 62
Utility_PV | 2022 | Utility_PV2022 | 0 | Utility_PV | 2022 | 0
Utility_PV | 2023 | Utility_PV2023 | 0 | Utility_PV | 2023 | 0
Utility_PV | 2024 | Utility_PV2024 | 0 | Utility_PV | 2024 | 0
Utility_PV | 2025 | Utility_PV2025 | 0 | Utility_PV | 2025 | 0
Utility_PV | 2026 | Utility_PV2026 | 0 | Utility_PV | 2026 | 0
Utility_PV | 2027 | Utility_PV2027 | 0 | Utility_PV | 2027 | 0
Utility_PV | 2028 | Utility_PV2028 | 4 | Utility_PV | 2028 | 4
Utility_PV | 2029 | Utility_PV2029 | 0 | Utility_PV | 2029 | 0
Utility_PV | 2030 | Utility_PV2030 | 4 | Utility_PV | 2030 | 4
Wind_Mila | 2020 | Wind_Mila2020 | 3.2 | Wind_Mila | 2004 | 3.2
Wind_OnShore | 2021 | Wind_OnShore2021 | 41.4 | Wind_OnShore | 2021 | 41.4
Wind_OnShore | 2022 | Wind_OnShore2022 | 6.9 | Wind_OnShore | 2022 | 6.9
Wind_OnShore | 2023 | Wind_OnShore2023 | 0 | Wind_OnShore | 2023 | 0
Wind_OnShore | 2024 | Wind_OnShore2024 | 10.35 | Wind_OnShore | 2024 | 10.35
Wind_OnShore | 2025 | Wind_OnShore2025 | 6.9 | Wind_OnShore | 2025 | 6.9
Wind_OnShore | 2026 | Wind_OnShore2026 | 13.8 | Wind_OnShore | 2026 | 13.8
Wind_OnShore | 2027 | Wind_OnShore2027 | 0 | Wind_OnShore | 2027 | 0
Wind_OnShore | 2028 | Wind_OnShore2028 | 6.9 | Wind_OnShore | 2028 | 6.9
Wind_OnShore | 2029 | Wind_OnShore2029 | 10.35 | Wind_OnShore | 2029 | 10.35
Wind_OnShore | 2030 | Wind_OnShore2030 | 0 | Wind_OnShore | 2030 | 0

## Capacity
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0
CCGT
Diesel | 224.2
Fueloil | 47.4
NG_GT |  | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 10
PV_SonSalomo | 5.1
Seacable | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utility_PV |  | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 4
Wind_Mila | 3.2
Wind_OnShore |  | 41.4 | 6.9 | 0 | 10.35 | 6.9 | 13.8 | 0 | 6.9 | 10.35 | 0
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0
CCGT | 0
Diesel | 224.2 |  |  | -224.2 | 0
Fueloil | 47.4 |  |  | -47.4 | 0
OCGT | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 10
PV - Son Salomo | 5.1
Seacable | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar PV (new) | 0 | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 4
Wind - Mila | 3.2 | [7 empty] | -3.2 | 0
Wind (new) | 0 | 41.4 | 6.9 | 0 | 10.35 | 6.9 | 13.8 | 0 | 6.9 | 10.35 | 0
CUMULATIVE
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 3 | 3 | 3
CCGT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Diesel | 224.2 | 224.2 | 224.2 | -224.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fueloil | 47.4 | 47.4 | 47.4 | -47.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OCGT | 0 | 0 | 0 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 80
PV - Son Salomo | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1
Seacable | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
Solar PV (new) | 0 | 62 | 62 | 62 | 62 | 62 | 62 | 62 | 66 | 66 | 70
Wind - Mila | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | -3.2 | 0 | 0
Wind (new) | 0 | 41.4 | 48.3 | 48.3 | 58.65 | 65.55 | 79.35 | 79.35 | 86.25 | 96.6 | 96.6
Installed Cap.
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Wind | 3.2 | 44.6 | 51.5 | 51.5 | 61.85 | 68.75 | 82.55 | 82.55 | 83.05 | 96.6 | 96.6
Solar PV | 5.1 | 67.1 | 67.1 | 67.1 | 67.1 | 67.1 | 67.1 | 67.1 | 71.1 | 71.1 | 75.1
Sea-cable | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
Nat. gas (OCGT) | 0 | 0 | 0 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 80
Nat. gas (CCGT) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fueloil | 47.4 | 47.4 | 47.4
Diesel | 224.2 | 224.2 | 224.2
Battery | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 3 | 3 | 3

## dispatch_annual
gen_energy_source | period | VLOOKUP | Energy_GWh_typical_yr | VariableCost_per_yr | DispatchEmissions_tCO2_per_typical_yr | gen_tech | gen_energy_source | period | Energy_GWh_typical_yr | VariableCost_per_yr | DispatchEmissions_tCO2_per_typical_yr
Battery | 2021 | Battery2021 | 0 | 0 | 0 | bat_1h | battery | 2021 | 0 | 0 | 0
Battery | 2022 | Battery2022 | 0 | 0 | 0 | bat_1h | battery | 2022 | 0 | 0 | 0
Battery | 2023 | Battery2023 | 0 | 0 | 0 | bat_1h | battery | 2023 | 0 | 0 | 0
Battery | 2024 | Battery2024 | 0 | 0 | 0 | bat_1h | battery | 2024 | 0 | 0 | 0
Battery | 2025 | Battery2025 | 0 | 0 | 0 | bat_1h | battery | 2025 | 0 | 0 | 0
Battery | 2026 | Battery2026 | 2.402 | 0 | 0 | bat_1h | battery | 2026 | 2.402 | 0 | 0
Battery | 2027 | Battery2027 | 2.449 | 0 | 0 | bat_1h | battery | 2027 | 2.449 | 0 | 0
Battery | 2028 | Battery2028 | 2.4805 | 0 | 0 | bat_1h | battery | 2028 | 2.4805 | 0 | 0
Battery | 2029 | Battery2029 | 2.8183 | 0 | 0 | bat_1h | battery | 2029 | 2.8183 | 0 | 0
Battery | 2030 | Battery2030 | 2.8964 | 0 | 0 | bat_1h | battery | 2030 | 2.8964 | 0 | 0
Battery | 2021 | Battery2021 | 0 | 0 | 0 | bat_2h | battery | 2021 | 0 | 0 | 0
Battery | 2022 | Battery2022 | 0 | 0 | 0 | bat_2h | battery | 2022 | 0 | 0 | 0
Battery | 2023 | Battery2023 | 0 | 0 | 0 | bat_2h | battery | 2023 | 0 | 0 | 0
Battery | 2024 | Battery2024 | 0 | 0 | 0 | bat_2h | battery | 2024 | 0 | 0 | 0
Battery | 2025 | Battery2025 | 0 | 0 | 0 | bat_2h | battery | 2025 | 0 | 0 | 0
Battery | 2026 | Battery2026 | 0 | 0 | 0 | bat_2h | battery | 2026 | 0 | 0 | 0
Battery | 2027 | Battery2027 | 0 | 0 | 0 | bat_2h | battery | 2027 | 0 | 0 | 0
Battery | 2028 | Battery2028 | 0 | 0 | 0 | bat_2h | battery | 2028 | 0 | 0 | 0
Battery | 2029 | Battery2029 | 0 | 0 | 0 | bat_2h | battery | 2029 | 0 | 0 | 0
Battery | 2030 | Battery2030 | 0 | 0 | 0 | bat_2h | battery | 2030 | 0 | 0 | 0
Battery | 2021 | Battery2021 | 0 | 0 | 0 | bat_4h | battery | 2021 | 0 | 0 | 0
Battery | 2022 | Battery2022 | 0 | 0 | 0 | bat_4h | battery | 2022 | 0 | 0 | 0
Battery | 2023 | Battery2023 | 0 | 0 | 0 | bat_4h | battery | 2023 | 0 | 0 | 0
Battery | 2024 | Battery2024 | 0 | 0 | 0 | bat_4h | battery | 2024 | 0 | 0 | 0
Battery | 2025 | Battery2025 | 0 | 0 | 0 | bat_4h | battery | 2025 | 0 | 0 | 0
Battery | 2026 | Battery2026 | 0 | 0 | 0 | bat_4h | battery | 2026 | 0 | 0 | 0
Battery | 2027 | Battery2027 | 0 | 0 | 0 | bat_4h | battery | 2027 | 0 | 0 | 0
Battery | 2028 | Battery2028 | 0 | 0 | 0 | bat_4h | battery | 2028 | 0 | 0 | 0
Battery | 2029 | Battery2029 | 0 | 0 | 0 | bat_4h | battery | 2029 | 0 | 0 | 0
Battery | 2030 | Battery2030 | 0 | 0 | 0 | bat_4h | battery | 2030 | 0 | 0 | 0
Seacable | 2021 | Seacable2021 | 181.2301 | 0 | 35724.0755 | cable | cable | 2021 | 181.2301 | 0 | 35724.0755
Seacable | 2022 | Seacable2022 | 174.2379 | 0 | 34345.7741 | cable | cable | 2022 | 174.2379 | 0 | 34345.7741
Seacable | 2023 | Seacable2023 | 177.5809 | 0 | 35004.7484 | cable | cable | 2023 | 177.5809 | 0 | 35004.7484
Seacable | 2024 | Seacable2024 | 166.5036 | 0 | 32821.1799 | cable | cable | 2024 | 166.5036 | 0 | 32821.1799
Seacable | 2025 | Seacable2025 | 161.0088 | 0 | 31738.0552 | cable | cable | 2025 | 161.0088 | 0 | 31738.0551
Seacable | 2026 | Seacable2026 | 147.9857 | 0 | 29170.9398 | cable | cable | 2026 | 147.9857 | 0 | 29170.9398
Seacable | 2027 | Seacable2027 | 150.7644 | 0 | 29718.6879 | cable | cable | 2027 | 150.7644 | 0 | 29718.6879
Seacable | 2028 | Seacable2028 | 143.0547 | 0 | 28198.9495 | cable | cable | 2028 | 143.0547 | 0 | 28198.9495
Seacable | 2029 | Seacable2029 | 137.3883 | 0 | 27081.9788 | cable | cable | 2029 | 137.3883 | 0 | 27081.9788
Seacable | 2030 | Seacable2030 | 138.051 | 0 | 27212.615 | cable | cable | 2030 | 138.051 | 0 | 27212.615
Diesel | 2021 | Diesel2021 | 1.1817 | 0 | 972.4193 | diesel | diesel | 2021 | 1.1817 | 0 | 972.4193
Diesel | 2022 | Diesel2022 | 1.2441 | 0 | 1023.7436 | diesel | diesel | 2022 | 1.2441 | 0 | 1023.7436
Fueloil | 2021 | Fueloil2021 | 45.4017 | 0 | 39277.0461 | fueloil | fueloil | 2021 | 45.4017 | 0 | 39277.0461
Fueloil | 2022 | Fueloil2022 | 44.5987 | 0 | 38582.3665 | fueloil | fueloil | 2022 | 44.5987 | 0 | 38582.3665
Wind | 2021 | Wind2021 | 6.1055 | 0 | 0 | mila_wind | wind | 2021 | 6.1055 | 0 | 0
Wind | 2022 | Wind2022 | 5.9731 | 0 | 0 | mila_wind | wind | 2022 | 5.9731 | 0 | 0
Wind | 2023 | Wind2023 | 5.9529 | 0 | 0 | mila_wind | wind | 2023 | 5.9529 | 0 | 0
Wind | 2024 | Wind2024 | 5.4844 | 0 | 0 | mila_wind | wind | 2024 | 5.4844 | 0 | 0
Wind | 2025 | Wind2025 | 5.4334 | 0 | 0 | mila_wind | wind | 2025 | 5.4334 | 0 | 0
Wind | 2026 | Wind2026 | 5.0044 | 0 | 0 | mila_wind | wind | 2026 | 5.0044 | 0 | 0
Wind | 2027 | Wind2027 | 5.1138 | 0 | 0 | mila_wind | wind | 2027 | 5.1138 | 0 | 0
Wind | 2028 | Wind2028 | 4.969 | 0 | 0 | mila_wind | wind | 2028 | 4.969 | 0 | 0
Natural gas | 2021 | Natural gas2021 | 0 | 0 | 0 | nat_gas | gas | 2021 | 0 | 0 | 0
Natural gas | 2022 | Natural gas2022 | 0 | 0 | 0 | nat_gas | gas | 2022 | 0 | 0 | 0
Natural gas | 2023 | Natural gas2023 | 48.6359 | 353096.7502 | 25538.7195 | nat_gas | gas | 2023 | 48.6359 | 353096.7502 | 25538.7195
Natural gas | 2024 | Natural gas2024 | 46.1763 | 335239.7964 | 24247.1649 | nat_gas | gas | 2024 | 46.1763 | 335239.7964 | 24247.1649
Natural gas | 2025 | Natural gas2025 | 45.5586 | 330755.0839 | 23922.7954 | nat_gas | gas | 2025 | 45.5586 | 330755.0839 | 23922.7954
Natural gas | 2026 | Natural gas2026 | 41.0369 | 297927.6508 | 21548.4586 | nat_gas | gas | 2026 | 41.0369 | 297927.6508 | 21548.4586
Natural gas | 2027 | Natural gas2027 | 43.6168 | 316658.3032 | 22903.2059 | nat_gas | gas | 2027 | 43.6168 | 316658.3032 | 22903.2059
Natural gas | 2028 | Natural gas2028 | 42.7181 | 310133.0622 | 22431.2494 | nat_gas | gas | 2028 | 42.7181 | 310133.0622 | 22431.2494
Natural gas | 2029 | Natural gas2029 | 42.7452 | 310330.3353 | 22445.5178 | nat_gas | gas | 2029 | 42.7452 | 310330.3353 | 22445.5178
Natural gas | 2030 | Natural gas2030 | 44.6063 | 323841.6937 | 23422.7649 | nat_gas | gas | 2030 | 44.6063 | 323841.6937 | 23422.7649
Solar | 2021 | Solar2021 | 7.6885 | 0 | 0 | salomo_pv | sun | 2021 | 7.6885 | 0 | 0
Solar | 2022 | Solar2022 | 7.7602 | 0 | 0 | salomo_pv | sun | 2022 | 7.7602 | 0 | 0
Solar | 2023 | Solar2023 | 7.6394 | 0 | 0 | salomo_pv | sun | 2023 | 7.6394 | 0 | 0
Solar | 2024 | Solar2024 | 6.8641 | 0 | 0 | salomo_pv | sun | 2024 | 6.8641 | 0 | 0
Solar | 2025 | Solar2025 | 6.8608 | 0 | 0 | salomo_pv | sun | 2025 | 6.8608 | 0 | 0
Solar | 2026 | Solar2026 | 6.4954 | 0 | 0 | salomo_pv | sun | 2026 | 6.4954 | 0 | 0
Solar | 2027 | Solar2027 | 6.576 | 0 | 0 | salomo_pv | sun | 2027 | 6.576 | 0 | 0
Solar | 2028 | Solar2028 | 6.3401 | 0 | 0 | salomo_pv | sun | 2028 | 6.3401 | 0 | 0
Solar | 2029 | Solar2029 | 6.2673 | 0 | 0 | salomo_pv | sun | 2029 | 6.2673 | 0 | 0
Solar | 2030 | Solar2030 | 6.3719 | 0 | 0 | salomo_pv | sun | 2030 | 6.3719 | 0 | 0
Solar | 2021 | Solar2021 | 136.2321 | 0 | 0 | utility_pv | sun | 2021 | 136.2321 | 0 | 0
Solar | 2022 | Solar2022 | 135.4454 | 0 | 0 | utility_pv | sun | 2022 | 135.4454 | 0 | 0
Solar | 2023 | Solar2023 | 133.5586 | 0 | 0 | utility_pv | sun | 2023 | 133.5586 | 0 | 0
Solar | 2024 | Solar2024 | 132.9902 | 0 | 0 | utility_pv | sun | 2024 | 132.9902 | 0 | 0
Solar | 2025 | Solar2025 | 133.2015 | 0 | 0 | utility_pv | sun | 2025 | 133.2015 | 0 | 0
Solar | 2026 | Solar2026 | 128.8642 | 0 | 0 | utility_pv | sun | 2026 | 128.8642 | 0 | 0
Solar | 2027 | Solar2027 | 124.9239 | 0 | 0 | utility_pv | sun | 2027 | 124.9239 | 0 | 0
Solar | 2028 | Solar2028 | 132.0902 | 0 | 0 | utility_pv | sun | 2028 | 132.0902 | 0 | 0
Solar | 2029 | Solar2029 | 129.788 | 0 | 0 | utility_pv | sun | 2029 | 129.788 | 0 | 0
Solar | 2030 | Solar2030 | 137.1746 | 0 | 0 | utility_pv | sun | 2030 | 137.1746 | 0 | 0
Wind | 2021 | Wind2021 | 115.1245 | 0 | 0 | wind | wind | 2021 | 115.1245 | 0 | 0
Wind | 2022 | Wind2022 | 131.2896 | 0 | 0 | wind | wind | 2022 | 131.2896 | 0 | 0
Wind | 2023 | Wind2023 | 134.9059 | 0 | 0 | wind | wind | 2023 | 134.9059 | 0 | 0
Wind | 2024 | Wind2024 | 157.6917 | 0 | 0 | wind | wind | 2024 | 157.6917 | 0 | 0
Wind | 2025 | Wind2025 | 171.1097 | 0 | 0 | wind | wind | 2025 | 171.1097 | 0 | 0
Wind | 2026 | Wind2026 | 202.0702 | 0 | 0 | wind | wind | 2026 | 202.0702 | 0 | 0
Wind | 2027 | Wind2027 | 208.9748 | 0 | 0 | wind | wind | 2027 | 208.9748 | 0 | 0
Wind | 2028 | Wind2028 | 218.4775 | 0 | 0 | wind | wind | 2028 | 218.4775 | 0 | 0
Wind | 2029 | Wind2029 | 239.9293 | 0 | 0 | wind | wind | 2029 | 239.9293 | 0 | 0
Wind | 2030 | Wind2030 | 237.1907 | 0 | 0 | wind | wind | 2030 | 237.1907 | 0 | 0

## Dispatch
Technology | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0 | 2.402 | 2.449 | 2.4805 | 2.8183 | 2.8964
Seacable | 181.2301 | 174.2379 | 177.5809 | 166.5036 | 161.0088 | 147.9857 | 150.7644 | 143.0547 | 137.3883 | 138.051
Diesel | 1.1817 | 1.2441 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fueloil | 45.4017 | 44.5987 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural gas | 0 | 0 | 48.6359 | 46.1763 | 45.5586 | 41.0369 | 43.6168 | 42.7181 | 42.7452 | 44.6063
Solar | 143.9205 | 143.2056 | 141.198 | 139.8544 | 140.0623 | 135.3596 | 131.4999 | 138.4303 | 136.0553 | 143.5465
Wind | 121.2299 | 137.2627 | 140.8588 | 163.1761 | 176.5431 | 207.0746 | 214.0886 | 223.4464 | 239.9293 | 237.1907
TOTAL | 492.964 | 500.549 | 508.2736 | 515.7103 | 523.1728 | 531.0329 | 539.5377 | 547.2118 | 555.6208 | 562.8834 | Check if it matches ElectricityCost!
Technology | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Wind | 24.59% | 27.42% | 27.71% | 31.64% | 33.74% | 38.79% | 39.47% | 40.62% | 42.93% | 41.88%
Solar PV | 29.19% | 28.61% | 27.78% | 27.12% | 26.77% | 25.35% | 24.24% | 25.16% | 24.34% | 25.35%
Sea-cable | 36.76% | 34.81% | 34.94% | 32.29% | 30.78% | 27.72% | 27.79% | 26% | 24.58% | 24.38%
Natural gas | 0% | 0% | 9.569% | 8.954% | 8.708% | 7.687% | 8.041% | 7.765% | 7.648% | 7.877%
Fueloil | 9.21% | 8.91% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Diesel | 0.2397% | 0.2485% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Battery | 0% | 0% | 0% | 0% | 0% | 0.4499% | 0.4515% | 0.4509% | 0.5042% | 0.5115%
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Renewables | 9.45% | 9.159% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Fossil fuel | 65.96% | 63.42% | 72.29% | 68.36% | 66.26% | 60.76% | 60.08% | 58.93% | 56.57% | 57.6%
Seacable | 24.59% | 27.42% | 27.71% | 31.64% | 33.74% | 38.79% | 39.47% | 40.62% | 42.93% | 41.88%

## ElectricityCost
PERIOD | SystemCostPerPeriod_NPV | SystemCostPerPeriod_Real | EnergyCostReal_per_MWh | SystemDemand_MWh
2021 | 54101709.3041 | 55183743.4901 | 111.9427 | 492964.01
2022 | 53430930.0215 | 55589539.5944 | 111.0571 | 500549
2023 | 38689070.4261 | 41057151.0487 | 80.7777 | 508273.64
2024 | 38454341.262 | 41624215.6736 | 80.7124 | 515710.3
2025 | 38307887.7312 | 42295003.4551 | 80.8433 | 523172.79
2026 | 38149755.5294 | 42962820.9814 | 80.9043 | 531032.88
2027 | 38056323.4332 | 43714753.2911 | 81.0226 | 539537.67
2028 | 37904244.9788 | 44410864.2092 | 81.1585 | 547211.77
2029 | 37563528.8002 | 44891894.1204 | 80.7959 | 555620.8
2030 | 37984227.7013 | 46302561.6157 | 82.2596 | 562883.37
Total | 412642019.2 | 458032547.5 | 86.7986 | 5276956.23
component | npv_cost | Cost (million Euros)
TotalGenFixedCosts | 275922521.7469 | 275.9225
StorageEnergyInstallCosts | 886311.7849 | 0.88631
GenVariableOMCostsInTP | 2272266.2209 | 2.2723
FuelCostsPerTP | 133560919.4352 | 133.5609