## buildGen
Technology | Year | VLOOKUP_Serach | Capacity (MW) | GEN_BLD_YRS_1 | GEN_BLD_YRS_2 | BuildGen
Battery_Utility_1h | 2021 | Battery2021 | 0 | Battery_Utility_1h | 2021 | 0
Battery_Utility_1h | 2022 | Battery2022 | 0 | Battery_Utility_1h | 2022 | 0
Battery_Utility_1h | 2023 | Battery2023 | 0 | Battery_Utility_1h | 2023 | 0
Battery_Utility_1h | 2024 | Battery2024 | 0 | Battery_Utility_1h | 2024 | 0
Battery_Utility_1h | 2025 | Battery2025 | 1 | Battery_Utility_1h | 2025 | 1
Battery_Utility_1h | 2026 | Battery2026 | 2 | Battery_Utility_1h | 2026 | 2
Battery_Utility_1h | 2027 | Battery2027 | 0 | Battery_Utility_1h | 2027 | 0
Battery_Utility_1h | 2028 | Battery2028 | 0 | Battery_Utility_1h | 2028 | 0
Battery_Utility_1h | 2029 | Battery2029 | 0 | Battery_Utility_1h | 2029 | 0
Battery_Utility_1h | 2030 | Battery2030 | 0 | Battery_Utility_1h | 2030 | 0
Battery_Utility_2h | 2021 | Battery2021 | 0 | Battery_Utility_2h | 2021 | 0
Battery_Utility_2h | 2022 | Battery2022 | 0 | Battery_Utility_2h | 2022 | 0
Battery_Utility_2h | 2023 | Battery2023 | 0 | Battery_Utility_2h | 2023 | 0
Battery_Utility_2h | 2024 | Battery2024 | 0 | Battery_Utility_2h | 2024 | 0
Battery_Utility_2h | 2025 | Battery2025 | 0 | Battery_Utility_2h | 2025 | 0
Battery_Utility_2h | 2026 | Battery2026 | 0 | Battery_Utility_2h | 2026 | 0
Battery_Utility_2h | 2027 | Battery2027 | 0 | Battery_Utility_2h | 2027 | 0
Battery_Utility_2h | 2028 | Battery2028 | 0 | Battery_Utility_2h | 2028 | 0
Battery_Utility_2h | 2029 | Battery2029 | 0 | Battery_Utility_2h | 2029 | 0
Battery_Utility_2h | 2030 | Battery2030 | 0 | Battery_Utility_2h | 2030 | 0
Battery_Utility_4h | 2021 | Battery2021 | 0 | Battery_Utility_4h | 2021 | 0
Battery_Utility_4h | 2022 | Battery2022 | 0 | Battery_Utility_4h | 2022 | 0
Battery_Utility_4h | 2023 | Battery2023 | 0 | Battery_Utility_4h | 2023 | 0
Battery_Utility_4h | 2024 | Battery2024 | 0 | Battery_Utility_4h | 2024 | 0
Battery_Utility_4h | 2025 | Battery2025 | 0 | Battery_Utility_4h | 2025 | 0
Battery_Utility_4h | 2026 | Battery2026 | 0 | Battery_Utility_4h | 2026 | 0
Battery_Utility_4h | 2027 | Battery2027 | 0 | Battery_Utility_4h | 2027 | 0
Battery_Utility_4h | 2028 | Battery2028 | 0 | Battery_Utility_4h | 2028 | 0
Battery_Utility_4h | 2029 | Battery2029 | 0 | Battery_Utility_4h | 2029 | 0
Battery_Utility_4h | 2030 | Battery2030 | 0 | Battery_Utility_4h | 2030 | 0
Diesel_GE | 2020 | Diesel2020 | 76 | Diesel_GE | 2003 | 76
Diesel_P&W | 2020 | Diesel2020 | 148.2 | Diesel_P&W | 2003 | 148.2
Fueloil | 2020 | Fueloil2020 | 47.4 | Fueloil_MB&W | 2003 | 47.4
NG_GT | 2021 | NG_GT2021 | 0 | NG_GT | 2021 | 0
NG_GT | 2022 | NG_GT2022 | 0 | NG_GT | 2022 | 0
NG_GT | 2023 | NG_GT2023 | 70 | NG_GT | 2023 | 70
NG_GT | 2024 | NG_GT2024 | 0 | NG_GT | 2024 | 0
NG_GT | 2025 | NG_GT2025 | 0 | NG_GT | 2025 | 0
NG_GT | 2026 | NG_GT2026 | 0 | NG_GT | 2026 | 0
NG_GT | 2027 | NG_GT2027 | 0 | NG_GT | 2027 | 0
NG_GT | 2028 | NG_GT2028 | 0 | NG_GT | 2028 | 0
NG_GT | 2029 | NG_GT2029 | 0 | NG_GT | 2029 | 0
NG_GT | 2030 | NG_GT2030 | 0 | NG_GT | 2030 | 0
PV_SonSalomo | 2020 | PV_SonSalomo2020 | 5.1 | PV_SonSalomo | 2008 | 5.1
Seacable | 2020 | Seacable2020 | 35 | Seacable | 2020 | 35
Seacable | 2021 | Seacable2021 | 0 | Seacable | 2021 | 0
Seacable | 2022 | Seacable2022 | 0 | Seacable | 2022 | 0
Seacable | 2023 | Seacable2023 | 0 | Seacable | 2023 | 0
Seacable | 2024 | Seacable2024 | 0 | Seacable | 2024 | 0
Seacable | 2025 | Seacable2025 | 0 | Seacable | 2025 | 0
Seacable | 2026 | Seacable2026 | 0 | Seacable | 2026 | 0
Seacable | 2027 | Seacable2027 | 0 | Seacable | 2027 | 0
Seacable | 2028 | Seacable2028 | 0 | Seacable | 2028 | 0
Seacable | 2029 | Seacable2029 | 0 | Seacable | 2029 | 0
Seacable | 2030 | Seacable2030 | 0 | Seacable | 2030 | 0
Utility_PV | 2021 | Utility_PV2021 | 62 | Utility_PV | 2021 | 62
Utility_PV | 2022 | Utility_PV2022 | 0 | Utility_PV | 2022 | 0
Utility_PV | 2023 | Utility_PV2023 | 0 | Utility_PV | 2023 | 0
Utility_PV | 2024 | Utility_PV2024 | 0 | Utility_PV | 2024 | 0
Utility_PV | 2025 | Utility_PV2025 | 0 | Utility_PV | 2025 | 0
Utility_PV | 2026 | Utility_PV2026 | 0 | Utility_PV | 2026 | 0
Utility_PV | 2027 | Utility_PV2027 | 0 | Utility_PV | 2027 | 0
Utility_PV | 2028 | Utility_PV2028 | 2 | Utility_PV | 2028 | 2
Utility_PV | 2029 | Utility_PV2029 | 4 | Utility_PV | 2029 | 4
Utility_PV | 2030 | Utility_PV2030 | 2 | Utility_PV | 2030 | 2
Wind_Mila | 2020 | Wind_Mila2020 | 3.2 | Wind_Mila | 2004 | 3.2
Wind_OnShore | 2021 | Wind_OnShore2021 | 41.4 | Wind_OnShore | 2021 | 41.4
Wind_OnShore | 2022 | Wind_OnShore2022 | 3.45 | Wind_OnShore | 2022 | 3.45
Wind_OnShore | 2023 | Wind_OnShore2023 | 0 | Wind_OnShore | 2023 | 0
Wind_OnShore | 2024 | Wind_OnShore2024 | 13.8 | Wind_OnShore | 2024 | 13.8
Wind_OnShore | 2025 | Wind_OnShore2025 | 0 | Wind_OnShore | 2025 | 0
Wind_OnShore | 2026 | Wind_OnShore2026 | 20.7 | Wind_OnShore | 2026 | 20.7
Wind_OnShore | 2027 | Wind_OnShore2027 | 0 | Wind_OnShore | 2027 | 0
Wind_OnShore | 2028 | Wind_OnShore2028 | 0 | Wind_OnShore | 2028 | 0
Wind_OnShore | 2029 | Wind_OnShore2029 | 3.45 | Wind_OnShore | 2029 | 3.45
Wind_OnShore | 2030 | Wind_OnShore2030 | 55.2 | Wind_OnShore | 2030 | 55.2

## Capacity
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery |  | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0
CCGT
Diesel | 224.2
Fueloil | 47.4
NG_GT |  | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV_SonSalomo | 5.1
Seacable | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utility_PV |  | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 2
Wind_Mila | 3.2
Wind_OnShore |  | 41.4 | 3.45 | 0 | 13.8 | 0 | 20.7 | 0 | 0 | 3.45 | 55.2
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0
CCGT | 0
Diesel | 224.2 |  |  | -224.2 | 0
Fueloil | 47.4 |  |  | -47.4 | 0
OCGT | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV - Son Salomo | 5.1
Seacable | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar PV (new) | 0 | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 2
Wind - Mila | 3.2 | [7 empty] | -3.2 | 0
Wind (new) | 0 | 41.4 | 3.45 | 0 | 13.8 | 0 | 20.7 | 0 | 0 | 3.45 | 55.2
CUMULATIVE
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 3 | 3 | 3 | 3
CCGT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Diesel | 224.2 | 224.2 | 224.2 | -224.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fueloil | 47.4 | 47.4 | 47.4 | -47.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OCGT | 0 | 0 | 0 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
PV - Son Salomo | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1
Seacable | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
Solar PV (new) | 0 | 62 | 62 | 62 | 62 | 62 | 62 | 62 | 64 | 68 | 70
Wind - Mila | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | -3.2 | 0 | 0
Wind (new) | 0 | 41.4 | 44.85 | 44.85 | 58.65 | 58.65 | 79.35 | 79.35 | 79.35 | 82.8 | 138
Installed Cap.
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Wind | 3.2 | 44.6 | 48.05 | 48.05 | 61.85 | 61.85 | 82.55 | 82.55 | 76.15 | 82.8 | 138
Solar PV | 5.1 | 67.1 | 67.1 | 67.1 | 67.1 | 67.1 | 67.1 | 67.1 | 69.1 | 73.1 | 75.1
Sea-cable | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
Nat. gas (OCGT) |  | 0 | 0 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Nat. gas (CCGT)
Fueloil | 47.4 | 47.4 | 47.4
Diesel | 224.2 | 224.2 | 224.2
Battery |  | 0 | 0 | 0 | 0 | 1 | 3 | 3 | 3 | 3 | 3

## dispatch_annual
gen_energy_source | period | VLOOKUP | Energy_GWh_typical_yr | VariableCost_per_yr | DispatchEmissions_tCO2_per_typical_yr | gen_tech | gen_energy_source | period | Energy_GWh_typical_yr | VariableCost_per_yr | DispatchEmissions_tCO2_per_typical_yr
Battery | 2021 | Battery2021 | 0 | 0 | 0 | bat_1h | battery | 2021 | 0 | 0 | 0
Battery | 2022 | Battery2022 | 0 | 0 | 0 | bat_1h | battery | 2022 | 0 | 0 | 0
Battery | 2023 | Battery2023 | 0 | 0 | 0 | bat_1h | battery | 2023 | 0 | 0 | 0
Battery | 2024 | Battery2024 | 0 | 0 | 0 | bat_1h | battery | 2024 | 0 | 0 | 0
Battery | 2025 | Battery2025 | 0.67978 | 0 | 0 | bat_1h | battery | 2025 | 0.67978 | 0 | 0
Battery | 2026 | Battery2026 | 2.3216 | 0 | 0 | bat_1h | battery | 2026 | 2.3216 | 0 | 0
Battery | 2027 | Battery2027 | 2.065 | 0 | 0 | bat_1h | battery | 2027 | 2.065 | 0 | 0
Battery | 2028 | Battery2028 | 1.9944 | 0 | 0 | bat_1h | battery | 2028 | 1.9944 | 0 | 0
Battery | 2029 | Battery2029 | 2.0587 | 0 | 0 | bat_1h | battery | 2029 | 2.0587 | 0 | 0
Battery | 2030 | Battery2030 | 11.3105 | 0 | 0 | bat_1h | battery | 2030 | 11.3105 | 0 | 0
Battery | 2021 | Battery2021 | 0 | 0 | 0 | bat_2h | battery | 2021 | 0 | 0 | 0
Battery | 2022 | Battery2022 | 0 | 0 | 0 | bat_2h | battery | 2022 | 0 | 0 | 0
Battery | 2023 | Battery2023 | 0 | 0 | 0 | bat_2h | battery | 2023 | 0 | 0 | 0
Battery | 2024 | Battery2024 | 0 | 0 | 0 | bat_2h | battery | 2024 | 0 | 0 | 0
Battery | 2025 | Battery2025 | 0 | 0 | 0 | bat_2h | battery | 2025 | 0 | 0 | 0
Battery | 2026 | Battery2026 | 0 | 0 | 0 | bat_2h | battery | 2026 | 0 | 0 | 0
Battery | 2027 | Battery2027 | 0 | 0 | 0 | bat_2h | battery | 2027 | 0 | 0 | 0
Battery | 2028 | Battery2028 | 0 | 0 | 0 | bat_2h | battery | 2028 | 0 | 0 | 0
Battery | 2029 | Battery2029 | 0 | 0 | 0 | bat_2h | battery | 2029 | 0 | 0 | 0
Battery | 2030 | Battery2030 | 0 | 0 | 0 | bat_2h | battery | 2030 | 0 | 0 | 0
Battery | 2021 | Battery2021 | 0 | 0 | 0 | bat_4h | battery | 2021 | 0 | 0 | 0
Battery | 2022 | Battery2022 | 0 | 0 | 0 | bat_4h | battery | 2022 | 0 | 0 | 0
Battery | 2023 | Battery2023 | 0 | 0 | 0 | bat_4h | battery | 2023 | 0 | 0 | 0
Battery | 2024 | Battery2024 | 0 | 0 | 0 | bat_4h | battery | 2024 | 0 | 0 | 0
Battery | 2025 | Battery2025 | 0 | 0 | 0 | bat_4h | battery | 2025 | 0 | 0 | 0
Battery | 2026 | Battery2026 | 0 | 0 | 0 | bat_4h | battery | 2026 | 0 | 0 | 0
Battery | 2027 | Battery2027 | 0 | 0 | 0 | bat_4h | battery | 2027 | 0 | 0 | 0
Battery | 2028 | Battery2028 | 0 | 0 | 0 | bat_4h | battery | 2028 | 0 | 0 | 0
Battery | 2029 | Battery2029 | 0 | 0 | 0 | bat_4h | battery | 2029 | 0 | 0 | 0
Battery | 2030 | Battery2030 | 0 | 0 | 0 | bat_4h | battery | 2030 | 0 | 0 | 0
Seacable | 2021 | Seacable2021 | 181.2301 | 0 | 35724.0755 | cable | cable | 2021 | 181.2301 | 0 | 35724.0755
Seacable | 2022 | Seacable2022 | 179.2035 | 0 | 35324.596 | cable | cable | 2022 | 179.2035 | 0 | 35324.596
Seacable | 2023 | Seacable2023 | 182.4266 | 0 | 35959.933 | cable | cable | 2023 | 182.4266 | 0 | 35959.933
Seacable | 2024 | Seacable2024 | 166.5036 | 0 | 32821.1799 | cable | cable | 2024 | 166.5036 | 0 | 32821.1799
Seacable | 2025 | Seacable2025 | 170.1377 | 0 | 33537.5434 | cable | cable | 2025 | 170.1377 | 0 | 33537.5434
Seacable | 2026 | Seacable2026 | 147.9857 | 0 | 29170.9398 | cable | cable | 2026 | 147.9857 | 0 | 29170.9398
Seacable | 2027 | Seacable2027 | 150.7644 | 0 | 29718.6879 | cable | cable | 2027 | 150.7644 | 0 | 29718.6879
Seacable | 2028 | Seacable2028 | 152.3501 | 0 | 30031.2604 | cable | cable | 2028 | 152.3501 | 0 | 30031.2604
Seacable | 2029 | Seacable2029 | 151.1396 | 0 | 29792.6429 | cable | cable | 2029 | 151.1396 | 0 | 29792.6429
Seacable | 2030 | Seacable2030 | 104.9698 | 0 | 20691.6425 | cable | cable | 2030 | 104.9698 | 0 | 20691.6425
Diesel | 2021 | Diesel2021 | 1.1817 | 0 | 972.4193 | diesel | diesel | 2021 | 1.1817 | 0 | 972.4193
Diesel | 2022 | Diesel2022 | 1.3605 | 0 | 1119.5892 | diesel | diesel | 2022 | 1.3605 | 0 | 1119.5892
Fueloil | 2021 | Fueloil2021 | 45.4017 | 0 | 39277.0461 | fueloil | fueloil | 2021 | 45.4017 | 0 | 39277.0461
Fueloil | 2022 | Fueloil2022 | 46.3691 | 0 | 40113.8712 | fueloil | fueloil | 2022 | 46.3691 | 0 | 40113.8712
Wind | 2021 | Wind2021 | 5.9987 | 0 | 0 | mila_wind | wind | 2021 | 5.9987 | 0 | 0
Wind | 2022 | Wind2022 | 5.8453 | 0 | 0 | mila_wind | wind | 2022 | 5.8453 | 0 | 0
Wind | 2023 | Wind2023 | 6.1589 | 0 | 0 | mila_wind | wind | 2023 | 6.1589 | 0 | 0
Wind | 2024 | Wind2024 | 5.7298 | 0 | 0 | mila_wind | wind | 2024 | 5.7298 | 0 | 0
Wind | 2025 | Wind2025 | 5.8248 | 0 | 0 | mila_wind | wind | 2025 | 5.8248 | 0 | 0
Wind | 2026 | Wind2026 | 5.2053 | 0 | 0 | mila_wind | wind | 2026 | 5.2053 | 0 | 0
Wind | 2027 | Wind2027 | 5.3325 | 0 | 0 | mila_wind | wind | 2027 | 5.3325 | 0 | 0
Wind | 2028 | Wind2028 | 5.2739 | 0 | 0 | mila_wind | wind | 2028 | 5.2739 | 0 | 0
Natural gas | 2021 | Natural gas2021 | 0 | 0 | 0 | nat_gas | gas | 2021 | 0 | 0 | 0
Natural gas | 2022 | Natural gas2022 | 0 | 0 | 0 | nat_gas | gas | 2022 | 0 | 0 | 0
Natural gas | 2023 | Natural gas2023 | 50.6136 | 367454.5182 | 26577.1856 | nat_gas | gas | 2023 | 50.6136 | 367454.5182 | 26577.1856
Natural gas | 2024 | Natural gas2024 | 46.1763 | 335239.7964 | 24247.1649 | nat_gas | gas | 2024 | 46.1763 | 335239.7964 | 24247.1649
Natural gas | 2025 | Natural gas2025 | 48.4181 | 351515.1797 | 25424.3279 | nat_gas | gas | 2025 | 48.4181 | 351515.1797 | 25424.3279
Natural gas | 2026 | Natural gas2026 | 41.0369 | 297927.6508 | 21548.4586 | nat_gas | gas | 2026 | 41.0369 | 297927.6508 | 21548.4586
Natural gas | 2027 | Natural gas2027 | 43.6168 | 316658.3032 | 22903.2059 | nat_gas | gas | 2027 | 43.6168 | 316658.3032 | 22903.2059
Natural gas | 2028 | Natural gas2028 | 45.7097 | 331852.3207 | 24002.1561 | nat_gas | gas | 2028 | 45.7097 | 331852.3207 | 24002.1561
Natural gas | 2029 | Natural gas2029 | 47.5977 | 345559.0896 | 24993.5369 | nat_gas | gas | 2029 | 47.5977 | 345559.0896 | 24993.5369
Natural gas | 2030 | Natural gas2030 | 33.1077 | 240361.804 | 17384.8462 | nat_gas | gas | 2030 | 33.1077 | 240361.804 | 17384.8462
Solar | 2021 | Solar2021 | 7.4873 | 0 | 0 | salomo_pv | sun | 2021 | 7.4873 | 0 | 0
Solar | 2022 | Solar2022 | 7.3672 | 0 | 0 | salomo_pv | sun | 2022 | 7.3672 | 0 | 0
Solar | 2023 | Solar2023 | 7.7369 | 0 | 0 | salomo_pv | sun | 2023 | 7.7369 | 0 | 0
Solar | 2024 | Solar2024 | 7.089 | 0 | 0 | salomo_pv | sun | 2024 | 7.089 | 0 | 0
Solar | 2025 | Solar2025 | 7.2897 | 0 | 0 | salomo_pv | sun | 2025 | 7.2897 | 0 | 0
Solar | 2026 | Solar2026 | 6.5891 | 0 | 0 | salomo_pv | sun | 2026 | 6.5891 | 0 | 0
Solar | 2027 | Solar2027 | 6.9086 | 0 | 0 | salomo_pv | sun | 2027 | 6.9086 | 0 | 0
Solar | 2028 | Solar2028 | 6.9737 | 0 | 0 | salomo_pv | sun | 2028 | 6.9737 | 0 | 0
Solar | 2029 | Solar2029 | 6.8047 | 0 | 0 | salomo_pv | sun | 2029 | 6.8047 | 0 | 0
Solar | 2030 | Solar2030 | 4.2563 | 0 | 0 | salomo_pv | sun | 2030 | 4.2563 | 0 | 0
Solar | 2021 | Solar2021 | 138.9787 | 0 | 0 | utility_pv | sun | 2021 | 138.9787 | 0 | 0
Solar | 2022 | Solar2022 | 141.5146 | 0 | 0 | utility_pv | sun | 2022 | 141.5146 | 0 | 0
Solar | 2023 | Solar2023 | 140.825 | 0 | 0 | utility_pv | sun | 2023 | 140.825 | 0 | 0
Solar | 2024 | Solar2024 | 136.4568 | 0 | 0 | utility_pv | sun | 2024 | 136.4568 | 0 | 0
Solar | 2025 | Solar2025 | 140.5782 | 0 | 0 | utility_pv | sun | 2025 | 140.5782 | 0 | 0
Solar | 2026 | Solar2026 | 139.2396 | 0 | 0 | utility_pv | sun | 2026 | 139.2396 | 0 | 0
Solar | 2027 | Solar2027 | 141.6461 | 0 | 0 | utility_pv | sun | 2027 | 141.6461 | 0 | 0
Solar | 2028 | Solar2028 | 138.6106 | 0 | 0 | utility_pv | sun | 2028 | 138.6106 | 0 | 0
Solar | 2029 | Solar2029 | 137.1498 | 0 | 0 | utility_pv | sun | 2029 | 137.1498 | 0 | 0
Solar | 2030 | Solar2030 | 115.5251 | 0 | 0 | utility_pv | sun | 2030 | 115.5251 | 0 | 0
Wind | 2021 | Wind2021 | 112.6858 | 0 | 0 | wind | wind | 2021 | 112.6858 | 0 | 0
Wind | 2022 | Wind2022 | 118.8888 | 0 | 0 | wind | wind | 2022 | 118.8888 | 0 | 0
Wind | 2023 | Wind2023 | 120.5127 | 0 | 0 | wind | wind | 2023 | 120.5127 | 0 | 0
Wind | 2024 | Wind2024 | 153.7549 | 0 | 0 | wind | wind | 2024 | 153.7549 | 0 | 0
Wind | 2025 | Wind2025 | 151.0443 | 0 | 0 | wind | wind | 2025 | 151.0443 | 0 | 0
Wind | 2026 | Wind2026 | 191.3859 | 0 | 0 | wind | wind | 2026 | 191.3859 | 0 | 0
Wind | 2027 | Wind2027 | 191.6336 | 0 | 0 | wind | wind | 2027 | 191.6336 | 0 | 0
Wind | 2028 | Wind2028 | 198.6458 | 0 | 0 | wind | wind | 2028 | 198.6458 | 0 | 0
Wind | 2029 | Wind2029 | 213.2923 | 0 | 0 | wind | wind | 2029 | 213.2923 | 0 | 0
Wind | 2030 | Wind2030 | 307.0205 | 0 | 0 | wind | wind | 2030 | 307.0205 | 0 | 0

## Dispatch
Technology | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0.67978 | 2.3216 | 2.065 | 1.9944 | 2.0587 | 11.3105 |  | 75.56%
Seacable | 181.2301 | 179.2035 | 182.4266 | 166.5036 | 170.1377 | 147.9857 | 150.7644 | 152.3501 | 151.1396 | 104.9698
Diesel | 1.1817 | 1.3605 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fueloil | 45.4017 | 46.3691 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural gas | 0 | 0 | 50.6136 | 46.1763 | 48.4181 | 41.0369 | 43.6168 | 45.7097 | 47.5977 | 33.1077
Solar | 146.466 | 148.8818 | 148.5618 | 143.5458 | 147.8679 | 145.8287 | 148.5547 | 145.5842 | 143.9545 | 119.7814
Wind | 118.6845 | 124.7341 | 126.6716 | 159.4847 | 156.8691 | 196.5913 | 196.9661 | 203.9197 | 213.2923 | 307.0205
TOTAL | 492.964 | 500.549 | 508.2736 | 515.7103 | 523.1728 | 531.0329 | 539.5377 | 547.2118 | 555.6208 | 562.8834 | Check if it matches ElectricityCost!
Technology | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Wind | 24.08% | 24.92% | 24.92% | 30.93% | 29.94% | 36.83% | 36.34% | 37.11% | 38.22% | 53.28%
Solar | 29.71% | 29.74% | 29.23% | 27.83% | 28.22% | 27.32% | 27.41% | 26.49% | 25.8% | 20.79%
Sea-cable | 36.76% | 35.8% | 35.89% | 32.29% | 32.47% | 27.72% | 27.82% | 27.72% | 27.08% | 18.22%
Natural gas | 0% | 0% | 9.958% | 8.954% | 9.241% | 7.688% | 8.048% | 8.318% | 8.529% | 5.746%
Fueloil | 9.21% | 9.264% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Diesel | 0.2397% | 0.2718% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Battery | 0% | 0% | 0% | 0% | 0.1297% | 0.4349% | 0.381% | 0.3629% | 0.3689% | 1.963%
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Renewables | 53.79% | 54.66% | 54.15% | 58.76% | 58.16% | 64.15% | 63.75% | 63.6% | 64.02% | 75.56%
Fossil fuel | 9.45% | 9.535% | 9.958% | 8.954% | 9.241% | 7.688% | 8.048% | 8.318% | 8.529% | 5.861%
Sea-cable | 36.76% | 35.8% | 35.89% | 32.29% | 32.47% | 27.72% | 27.82% | 27.72% | 27.08% | 18.58%

## ElectricityCost
PERIOD | SystemCostPerPeriod_NPV | SystemCostPerPeriod_Real | EnergyCostReal_per_MWh | SystemDemand_MWh
2021 | 54103248.7971 | 55185313.7731 | 111.9459 | 492964.01
2022 | 53511410.4783 | 55673271.4617 | 111.2244 | 500549
2023 | 38292148.929 | 40635934.7806 | 79.9489 | 508273.64
2024 | 37809194.138 | 40925887.6786 | 79.3583 | 515710.3
2025 | 37518347.4898 | 41423287.2313 | 79.1771 | 523172.79
2026 | 37178558.651 | 41869095.5551 | 78.8446 | 531032.88
2027 | 36819977.9496 | 42294580.9539 | 78.3904 | 539537.67
2028 | 36463725.8903 | 42723066.5057 | 78.0741 | 547211.77
2029 | 35872532.9917 | 42870997.596 | 77.1587 | 555620.8
2030 | 36569954.2732 | 44578570.1985 | 79.1968 | 562883.37
Total | 404139099.6 | 448180005.7 | 84.9315 | 5276956.23
component | npv_cost | Cost (million Euros)
TotalGenFixedCosts | 275318029.9739 | 275.318
StorageEnergyInstallCosts | 900416.985 | 0.90042
GenVariableOMCostsInTP | 2284131.3628 | 2.2841
FuelCostsPerTP | 125636521.2664 | 125.6365