## buildGen
Technology | Year | VLOOKUP_Serach | Capacity (MW) | GEN_BLD_YRS_1 | GEN_BLD_YRS_2 | BuildGen
Battery_Utility_4h | 2021 | Battery2021 | 0 | Battery_Utility_4h | 2021 | 0
Battery_Utility_4h | 2022 | Battery2022 | 0 | Battery_Utility_4h | 2022 | 0
Battery_Utility_4h | 2023 | Battery2023 | 0 | Battery_Utility_4h | 2023 | 0
Battery_Utility_4h | 2024 | Battery2024 | 0 | Battery_Utility_4h | 2024 | 0
Battery_Utility_4h | 2025 | Battery2025 | 0 | Battery_Utility_4h | 2025 | 0
Battery_Utility_4h | 2026 | Battery2026 | 3 | Battery_Utility_4h | 2026 | 3
Battery_Utility_4h | 2027 | Battery2027 | 0 | Battery_Utility_4h | 2027 | 0
Battery_Utility_4h | 2028 | Battery2028 | 0 | Battery_Utility_4h | 2028 | 0
Battery_Utility_4h | 2029 | Battery2029 | 0 | Battery_Utility_4h | 2029 | 0
Battery_Utility_4h | 2030 | Battery2030 | 0 | Battery_Utility_4h | 2030 | 0
Diesel_GE | 2020 | Diesel2020 | 76 | Diesel_GE | 2003 | 76
Diesel_P&W | 2020 | Diesel2020 | 148.2 | Diesel_P&W | 2003 | 148.2
Fueloil | 2020 | Fueloil2020 | 47.4 | Fueloil_MB&W | 2003 | 47.4
NG_GT | 2021 | NG_GT2021 | 0 | NG_GT | 2021 | 0
NG_GT | 2022 | NG_GT2022 | 0 | NG_GT | 2022 | 0
NG_GT | 2023 | NG_GT2023 | 70 | NG_GT | 2023 | 70
NG_GT | 2024 | NG_GT2024 | 0 | NG_GT | 2024 | 0
NG_GT | 2025 | NG_GT2025 | 0 | NG_GT | 2025 | 0
NG_GT | 2026 | NG_GT2026 | 0 | NG_GT | 2026 | 0
NG_GT | 2027 | NG_GT2027 | 0 | NG_GT | 2027 | 0
NG_GT | 2028 | NG_GT2028 | 0 | NG_GT | 2028 | 0
NG_GT | 2029 | NG_GT2029 | 0 | NG_GT | 2029 | 0
NG_GT | 2030 | NG_GT2030 | 0 | NG_GT | 2030 | 0
PV_SonSalomo | 2020 | PV_SonSalomo2020 | 5.1 | PV_SonSalomo | 2008 | 5.1
Seacable | 2020 | Seacable2020 | 35 | Seacable | 2020 | 35
Seacable | 2021 | Seacable2021 | 0 | Seacable | 2021 | 0
Seacable | 2022 | Seacable2022 | 0 | Seacable | 2022 | 0
Seacable | 2023 | Seacable2023 | 0 | Seacable | 2023 | 0
Seacable | 2024 | Seacable2024 | 0 | Seacable | 2024 | 0
Seacable | 2025 | Seacable2025 | 0 | Seacable | 2025 | 0
Seacable | 2026 | Seacable2026 | 0 | Seacable | 2026 | 0
Seacable | 2027 | Seacable2027 | 0 | Seacable | 2027 | 0
Seacable | 2028 | Seacable2028 | 0 | Seacable | 2028 | 0
Seacable | 2029 | Seacable2029 | 0 | Seacable | 2029 | 0
Seacable | 2030 | Seacable2030 | 0 | Seacable | 2030 | 0
Utility_PV | 2021 | Utility_PV2021 | 62 | Utility_PV | 2021 | 62
Utility_PV | 2022 | Utility_PV2022 | 0 | Utility_PV | 2022 | 0
Utility_PV | 2023 | Utility_PV2023 | 0 | Utility_PV | 2023 | 0
Utility_PV | 2024 | Utility_PV2024 | 0 | Utility_PV | 2024 | 0
Utility_PV | 2025 | Utility_PV2025 | 0 | Utility_PV | 2025 | 0
Utility_PV | 2026 | Utility_PV2026 | 0 | Utility_PV | 2026 | 0
Utility_PV | 2027 | Utility_PV2027 | 0 | Utility_PV | 2027 | 0
Utility_PV | 2028 | Utility_PV2028 | 4 | Utility_PV | 2028 | 4
Utility_PV | 2029 | Utility_PV2029 | 4 | Utility_PV | 2029 | 4
Utility_PV | 2030 | Utility_PV2030 | 0 | Utility_PV | 2030 | 0
Wind_Mila | 2020 | Wind_Mila2020 | 3.2 | Wind_Mila | 2004 | 3.2
Wind_OnShore | 2021 | Wind_OnShore2021 | 41.4 | Wind_OnShore | 2021 | 41.4
Wind_OnShore | 2022 | Wind_OnShore2022 | 3.45 | Wind_OnShore | 2022 | 3.45
Wind_OnShore | 2023 | Wind_OnShore2023 | 0 | Wind_OnShore | 2023 | 0
Wind_OnShore | 2024 | Wind_OnShore2024 | 13.8 | Wind_OnShore | 2024 | 13.8
Wind_OnShore | 2025 | Wind_OnShore2025 | 6.9 | Wind_OnShore | 2025 | 6.9
Wind_OnShore | 2026 | Wind_OnShore2026 | 13.8 | Wind_OnShore | 2026 | 13.8
Wind_OnShore | 2027 | Wind_OnShore2027 | 0 | Wind_OnShore | 2027 | 0
Wind_OnShore | 2028 | Wind_OnShore2028 | 0 | Wind_OnShore | 2028 | 0
Wind_OnShore | 2029 | Wind_OnShore2029 | 3.45 | Wind_OnShore | 2029 | 3.45
Wind_OnShore | 2030 | Wind_OnShore2030 | 151.8 | Wind_OnShore | 2030 | 151.8

## Capacity
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery |  | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0
CCGT
Diesel | 224.2
Fueloil | 47.4
NG_GT |  | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV_SonSalomo | 5.1
Seacable | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utility_PV |  | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4 | 0
Wind_Mila | 3.2
Wind_OnShore |  | 41.4 | 3.45 | 0 | 13.8 | 6.9 | 13.8 | 0 | 0 | 3.45 | 151.8
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0
CCGT | 0
Diesel | 224.2 |  |  | -224.2 | 0
Fueloil | 47.4 |  |  | -47.4 | 0
OCGT | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV - Son Salomo | 5.1
Seacable | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar PV (new) | 0 | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4 | 0
Wind - Mila | 3.2 | [7 empty] | -3.2 | 0
Wind (new) | 0 | 41.4 | 3.45 | 0 | 13.8 | 6.9 | 13.8 | 0 | 0 | 3.45 | 151.8
CUMULATIVE
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 3 | 3 | 3
CCGT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Diesel | 224.2 | 224.2 | 224.2 | -224.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fueloil | 47.4 | 47.4 | 47.4 | -47.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OCGT | 0 | 0 | 0 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
PV - Son Salomo | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1
Seacable | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
Solar PV (new) | 0 | 62 | 62 | 62 | 62 | 62 | 62 | 62 | 66 | 70 | 70
Wind - Mila | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | -3.2 | 0 | 0
Wind (new) | 0 | 41.4 | 44.85 | 44.85 | 58.65 | 65.55 | 79.35 | 79.35 | 79.35 | 82.8 | 234.6
Installed Cap.
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Wind | 3.2 | 44.6 | 48.05 | 48.05 | 61.85 | 68.75 | 82.55 | 82.55 | 76.15 | 82.8 | 234.6
Solar PV | 5.1 | 67.1 | 67.1 | 67.1 | 67.1 | 67.1 | 67.1 | 67.1 | 71.1 | 75.1 | 75.1
Sea-cable | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
Nat. gas (OCGT) | 0 | 0 | 0 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Nat. gas (CCGT) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fueloil | 47.4 | 47.4 | 47.4
Diesel | 224.2 | 224.2 | 224.2
Battery | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 3 | 3 | 3

## dispatch_annual
gen_energy_source | period | VLOOKUP | Energy_GWh_typical_yr | VariableCost_per_yr | DispatchEmissions_tCO2_per_typical_yr | gen_tech | gen_energy_source | period | Energy_GWh_typical_yr | VariableCost_per_yr | DispatchEmissions_tCO2_per_typical_yr
Battery | 2021 | Battery2021 | 0 | 0 | 0 | bat_4h | battery | 2021 | 0 | 0 | 0
Battery | 2022 | Battery2022 | 0 | 0 | 0 | bat_4h | battery | 2022 | 0 | 0 | 0
Battery | 2023 | Battery2023 | 0 | 0 | 0 | bat_4h | battery | 2023 | 0 | 0 | 0
Battery | 2024 | Battery2024 | 0 | 0 | 0 | bat_4h | battery | 2024 | 0 | 0 | 0
Battery | 2025 | Battery2025 | 0 | 0 | 0 | bat_4h | battery | 2025 | 0 | 0 | 0
Battery | 2026 | Battery2026 | 5.1978 | 0 | 0 | bat_4h | battery | 2026 | 5.1978 | 0 | 0
Battery | 2027 | Battery2027 | 5.173 | 0 | 0 | bat_4h | battery | 2027 | 5.173 | 0 | 0
Battery | 2028 | Battery2028 | 5.219 | 0 | 0 | bat_4h | battery | 2028 | 5.219 | 0 | 0
Battery | 2029 | Battery2029 | 4.9803 | 0 | 0 | bat_4h | battery | 2029 | 4.9803 | 0 | 0
Battery | 2030 | Battery2030 | 15.4835 | 0 | 0 | bat_4h | battery | 2030 | 15.4835 | 0 | 0
Seacable | 2021 | Seacable2021 | 181.2301 | 0 | 35724.0755 | cable | cable | 2021 | 181.2301 | 0 | 35724.0755
Seacable | 2022 | Seacable2022 | 179.2035 | 0 | 35324.596 | cable | cable | 2022 | 179.2035 | 0 | 35324.596
Seacable | 2023 | Seacable2023 | 182.4266 | 0 | 35959.933 | cable | cable | 2023 | 182.4266 | 0 | 35959.933
Seacable | 2024 | Seacable2024 | 166.5036 | 0 | 32821.1799 | cable | cable | 2024 | 166.5036 | 0 | 32821.1799
Seacable | 2025 | Seacable2025 | 161.0088 | 0 | 31738.0552 | cable | cable | 2025 | 161.0088 | 0 | 31738.0551
Seacable | 2026 | Seacable2026 | 147.8007 | 0 | 29134.4729 | cable | cable | 2026 | 147.8007 | 0 | 29134.4729
Seacable | 2027 | Seacable2027 | 150.6213 | 0 | 29690.4734 | cable | cable | 2027 | 150.6213 | 0 | 29690.4734
Seacable | 2028 | Seacable2028 | 150.7558 | 0 | 29716.9787 | cable | cable | 2028 | 150.7558 | 0 | 29716.9787
Seacable | 2029 | Seacable2029 | 149.5942 | 0 | 29488.0051 | cable | cable | 2029 | 149.5942 | 0 | 29488.0051
Seacable | 2030 | Seacable2030 | 62.6933 | 0 | 12358.0961 | cable | cable | 2030 | 62.6933 | 0 | 12358.0961
Diesel | 2021 | Diesel2021 | 1.1817 | 0 | 972.4193 | diesel | diesel | 2021 | 1.1817 | 0 | 972.4193
Diesel | 2022 | Diesel2022 | 1.3605 | 0 | 1119.5892 | diesel | diesel | 2022 | 1.3605 | 0 | 1119.5892
Fueloil | 2021 | Fueloil2021 | 45.4017 | 0 | 39277.0461 | fueloil | fueloil | 2021 | 45.4017 | 0 | 39277.0461
Fueloil | 2022 | Fueloil2022 | 46.3691 | 0 | 40113.8712 | fueloil | fueloil | 2022 | 46.3691 | 0 | 40113.8712
Wind | 2021 | Wind2021 | 5.934 | 0 | 0 | mila_wind | wind | 2021 | 5.934 | 0 | 0
Wind | 2022 | Wind2022 | 5.9532 | 0 | 0 | mila_wind | wind | 2022 | 5.9532 | 0 | 0
Wind | 2023 | Wind2023 | 6.1636 | 0 | 0 | mila_wind | wind | 2023 | 6.1636 | 0 | 0
Wind | 2024 | Wind2024 | 5.6004 | 0 | 0 | mila_wind | wind | 2024 | 5.6004 | 0 | 0
Wind | 2025 | Wind2025 | 5.5106 | 0 | 0 | mila_wind | wind | 2025 | 5.5106 | 0 | 0
Wind | 2026 | Wind2026 | 5.2804 | 0 | 0 | mila_wind | wind | 2026 | 5.2804 | 0 | 0
Wind | 2027 | Wind2027 | 5.3761 | 0 | 0 | mila_wind | wind | 2027 | 5.3761 | 0 | 0
Wind | 2028 | Wind2028 | 5.2467 | 0 | 0 | mila_wind | wind | 2028 | 5.2467 | 0 | 0
Natural gas | 2021 | Natural gas2021 | 0 | 0 | 0 | nat_gas | gas | 2021 | 0 | 0 | 0
Natural gas | 2022 | Natural gas2022 | 0 | 0 | 0 | nat_gas | gas | 2022 | 0 | 0 | 0
Natural gas | 2023 | Natural gas2023 | 50.6136 | 367454.5182 | 26577.1856 | nat_gas | gas | 2023 | 50.6136 | 367454.5182 | 26577.1856
Natural gas | 2024 | Natural gas2024 | 46.1763 | 335239.7964 | 24247.1649 | nat_gas | gas | 2024 | 46.1763 | 335239.7964 | 24247.1649
Natural gas | 2025 | Natural gas2025 | 45.5586 | 330755.0839 | 23922.7954 | nat_gas | gas | 2025 | 45.5586 | 330755.0839 | 23922.7954
Natural gas | 2026 | Natural gas2026 | 38.7866 | 281591.004 | 20366.8645 | nat_gas | gas | 2026 | 38.7866 | 281591.004 | 20366.8645
Natural gas | 2027 | Natural gas2027 | 41.2587 | 299538.392 | 21664.96 | nat_gas | gas | 2027 | 41.2587 | 299538.392 | 21664.96
Natural gas | 2028 | Natural gas2028 | 42.9389 | 311736.5755 | 22547.2281 | nat_gas | gas | 2028 | 42.9389 | 311736.5755 | 22547.2281
Natural gas | 2029 | Natural gas2029 | 44.8354 | 325504.6639 | 23543.0439 | nat_gas | gas | 2029 | 44.8354 | 325504.6639 | 23543.0439
Natural gas | 2030 | Natural gas2030 | 18.4373 | 133854.8285 | 9681.4284 | nat_gas | gas | 2030 | 18.4373 | 133854.8285 | 9681.4284
Solar | 2021 | Solar2021 | 7.4242 | 0 | 0 | salomo_pv | sun | 2021 | 7.4242 | 0 | 0
Solar | 2022 | Solar2022 | 7.6985 | 0 | 0 | salomo_pv | sun | 2022 | 7.6985 | 0 | 0
Solar | 2023 | Solar2023 | 8.1045 | 0 | 0 | salomo_pv | sun | 2023 | 8.1045 | 0 | 0
Solar | 2024 | Solar2024 | 7.2313 | 0 | 0 | salomo_pv | sun | 2024 | 7.2313 | 0 | 0
Solar | 2025 | Solar2025 | 7.276 | 0 | 0 | salomo_pv | sun | 2025 | 7.276 | 0 | 0
Solar | 2026 | Solar2026 | 6.9438 | 0 | 0 | salomo_pv | sun | 2026 | 6.9438 | 0 | 0
Solar | 2027 | Solar2027 | 6.9711 | 0 | 0 | salomo_pv | sun | 2027 | 6.9711 | 0 | 0
Solar | 2028 | Solar2028 | 6.8302 | 0 | 0 | salomo_pv | sun | 2028 | 6.8302 | 0 | 0
Solar | 2029 | Solar2029 | 6.9385 | 0 | 0 | salomo_pv | sun | 2029 | 6.9385 | 0 | 0
Solar | 2030 | Solar2030 | 3.462 | 0 | 0 | salomo_pv | sun | 2030 | 3.462 | 0 | 0
Solar | 2021 | Solar2021 | 141.6284 | 0 | 0 | utility_pv | sun | 2021 | 141.6284 | 0 | 0
Solar | 2022 | Solar2022 | 138.3501 | 0 | 0 | utility_pv | sun | 2022 | 138.3501 | 0 | 0
Solar | 2023 | Solar2023 | 138.9651 | 0 | 0 | utility_pv | sun | 2023 | 138.9651 | 0 | 0
Solar | 2024 | Solar2024 | 134.7677 | 0 | 0 | utility_pv | sun | 2024 | 134.7677 | 0 | 0
Solar | 2025 | Solar2025 | 128.0014 | 0 | 0 | utility_pv | sun | 2025 | 128.0014 | 0 | 0
Solar | 2026 | Solar2026 | 112.5387 | 0 | 0 | utility_pv | sun | 2026 | 112.5387 | 0 | 0
Solar | 2027 | Solar2027 | 114.8011 | 0 | 0 | utility_pv | sun | 2027 | 114.8011 | 0 | 0
Solar | 2028 | Solar2028 | 125.7044 | 0 | 0 | utility_pv | sun | 2028 | 125.7044 | 0 | 0
Solar | 2029 | Solar2029 | 131.4777 | 0 | 0 | utility_pv | sun | 2029 | 131.4777 | 0 | 0
Solar | 2030 | Solar2030 | 96.6051 | 0 | 0 | utility_pv | sun | 2030 | 96.6051 | 0 | 0
Wind | 2021 | Wind2021 | 110.1638 | 0 | 0 | wind | wind | 2021 | 110.1638 | 0 | 0
Wind | 2022 | Wind2022 | 121.6141 | 0 | 0 | wind | wind | 2022 | 121.6141 | 0 | 0
Wind | 2023 | Wind2023 | 122.0003 | 0 | 0 | wind | wind | 2023 | 122.0003 | 0 | 0
Wind | 2024 | Wind2024 | 155.431 | 0 | 0 | wind | wind | 2024 | 155.431 | 0 | 0
Wind | 2025 | Wind2025 | 175.8175 | 0 | 0 | wind | wind | 2025 | 175.8175 | 0 | 0
Wind | 2026 | Wind2026 | 220.6 | 0 | 0 | wind | wind | 2026 | 220.6 | 0 | 0
Wind | 2027 | Wind2027 | 221.4221 | 0 | 0 | wind | wind | 2027 | 221.4221 | 0 | 0
Wind | 2028 | Wind2028 | 216.6568 | 0 | 0 | wind | wind | 2028 | 216.6568 | 0 | 0
Wind | 2029 | Wind2029 | 223.654 | 0 | 0 | wind | wind | 2029 | 223.654 | 0 | 0
Wind | 2030 | Wind2030 | 384.4181 | 0 | 0 | wind | wind | 2030 | 384.4181 | 0 | 0

## Dispatch
Technology | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0 | 5.1978 | 5.173 | 5.219 | 4.9803 | 15.4835 |  | 85.66%
Seacable | 181.2301 | 179.2035 | 182.4266 | 166.5036 | 161.0088 | 147.8007 | 150.6213 | 150.7558 | 149.5942 | 62.6933
Diesel | 1.1817 | 1.3605 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fueloil | 45.4017 | 46.3691 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural gas | 0 | 0 | 50.6136 | 46.1763 | 45.5586 | 38.7866 | 41.2587 | 42.9389 | 44.8354 | 18.4373
Solar | 149.0527 | 146.0486 | 147.0696 | 141.9991 | 135.2774 | 119.4825 | 121.7723 | 132.5346 | 138.4162 | 100.0671
Wind | 116.0978 | 127.5673 | 128.1639 | 161.0314 | 181.328 | 225.8804 | 226.7982 | 221.9035 | 223.654 | 384.4181
TOTAL | 492.964 | 500.549 | 508.2736 | 515.7103 | 523.1728 | 531.0329 | 539.5377 | 547.2118 | 555.6208 | 562.8834 | Check if it matches ElectricityCost!
Technology | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Wind | 23.55% | 25.49% | 25.22% | 31.23% | 34.66% | 42.05% | 41.57% | 40.1% | 39.83% | 66.15%
Solar | 30.24% | 29.18% | 28.94% | 27.53% | 25.86% | 22.24% | 22.32% | 23.95% | 24.65% | 17.22%
Sea-cable | 36.76% | 35.8% | 35.89% | 32.29% | 30.78% | 27.52% | 27.61% | 27.24% | 26.64% | 10.79%
Natural gas | 0% | 0% | 9.958% | 8.954% | 8.708% | 7.221% | 7.562% | 7.76% | 7.985% | 3.173%
Fueloil | 9.21% | 9.264% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Diesel | 0.2397% | 0.2718% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Battery | 0% | 0% | 0% | 0% | 0% | 0.9677% | 0.9481% | 0.9432% | 0.887% | 2.665%
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Renewables | 53.79% | 54.66% | 54.15% | 58.76% | 60.52% | 64.92% | 64.5% | 64.66% | 65.06% | 85.66%
Fossil fuel | 9.45% | 9.535% | 9.958% | 8.954% | 8.708% | 7.291% | 7.634% | 7.834% | 8.057% | 3.26%
Sea-cable | 36.76% | 35.8% | 35.89% | 32.29% | 30.78% | 27.78% | 27.87% | 27.5% | 26.88% | 11.08%

## ElectricityCost
PERIOD | SystemCostPerPeriod_NPV | SystemCostPerPeriod_Real | EnergyCostReal_per_MWh | SystemDemand_MWh
2021 | 54283378.2721 | 55369045.8376 | 112.3186 | 492964.01
2022 | 53688008.0028 | 55857003.5261 | 111.5915 | 500549
2023 | 38465283.7569 | 40819666.8451 | 80.3104 | 508273.64
2024 | 37978934.1654 | 41109619.7431 | 79.7146 | 515710.3
2025 | 37625997.4618 | 41542141.4989 | 79.4042 | 523172.79
2026 | 37325293.3258 | 42034342.6315 | 79.1558 | 531032.88
2027 | 36956594.7047 | 42451510.6624 | 78.6813 | 539537.67
2028 | 36593395.652 | 42874995.2984 | 78.3517 | 547211.77
2029 | 36002823.5004 | 43026706.8148 | 77.439 | 555620.8
2030 | 41962032.6636 | 51151483.6686 | 90.874 | 562883.37
Total | 410881741.5 | 456236516.5 | 86.4583 | 5276956.23
component | npv_cost | Cost (million Euros)
TotalGenFixedCosts | 285504809.0962 | 285.5048
StorageEnergyInstallCosts | 2550805.8726 | 2.5508
GenVariableOMCostsInTP | 2114595.8592 | 2.1146
FuelCostsPerTP | 120711530.6777 | 120.7115