## buildGen
Technology | Year | VLOOKUP_Serach | Capacity (MW) | GEN_BLD_YRS_1 | GEN_BLD_YRS_2 | BuildGen
Battery_Utility_4h | 2021 | Battery2021 | 0 | Battery_Utility_4h | 2021 | 0
Battery_Utility_4h | 2022 | Battery2022 | 0 | Battery_Utility_4h | 2022 | 0
Battery_Utility_4h | 2023 | Battery2023 | 0 | Battery_Utility_4h | 2023 | 0
Battery_Utility_4h | 2024 | Battery2024 | 0 | Battery_Utility_4h | 2024 | 0
Battery_Utility_4h | 2025 | Battery2025 | 0 | Battery_Utility_4h | 2025 | 0
Battery_Utility_4h | 2026 | Battery2026 | 4 | Battery_Utility_4h | 2026 | 4
Battery_Utility_4h | 2027 | Battery2027 | 0 | Battery_Utility_4h | 2027 | 0
Battery_Utility_4h | 2028 | Battery2028 | 0 | Battery_Utility_4h | 2028 | 0
Battery_Utility_4h | 2029 | Battery2029 | 0 | Battery_Utility_4h | 2029 | 0
Battery_Utility_4h | 2030 | Battery2030 | 16 | Battery_Utility_4h | 2030 | 16
Diesel_GE | 2020 | Diesel2020 | 76 | Diesel_GE | 2003 | 76
Diesel_P&W | 2020 | Diesel2020 | 148.2 | Diesel_P&W | 2003 | 148.2
Fueloil | 2020 | Fueloil2020 | 47.4 | Fueloil_MB&W | 2003 | 47.4
NG_GT | 2021 | NG_GT2021 | 0 | NG_GT | 2021 | 0
NG_GT | 2022 | NG_GT2022 | 0 | NG_GT | 2022 | 0
NG_GT | 2023 | NG_GT2023 | 70 | NG_GT | 2023 | 70
NG_GT | 2024 | NG_GT2024 | 0 | NG_GT | 2024 | 0
NG_GT | 2025 | NG_GT2025 | 0 | NG_GT | 2025 | 0
NG_GT | 2026 | NG_GT2026 | 0 | NG_GT | 2026 | 0
NG_GT | 2027 | NG_GT2027 | 0 | NG_GT | 2027 | 0
NG_GT | 2028 | NG_GT2028 | 0 | NG_GT | 2028 | 0
NG_GT | 2029 | NG_GT2029 | 0 | NG_GT | 2029 | 0
NG_GT | 2030 | NG_GT2030 | 0 | NG_GT | 2030 | 0
PV_SonSalomo | 2020 | PV_SonSalomo2020 | 5.1 | PV_SonSalomo | 2008 | 5.1
Seacable | 2020 | Seacable2020 | 35 | Seacable | 2020 | 35
Seacable | 2021 | Seacable2021 | 0 | Seacable | 2021 | 0
Seacable | 2022 | Seacable2022 | 0 | Seacable | 2022 | 0
Seacable | 2023 | Seacable2023 | 0 | Seacable | 2023 | 0
Seacable | 2024 | Seacable2024 | 0 | Seacable | 2024 | 0
Seacable | 2025 | Seacable2025 | 0 | Seacable | 2025 | 0
Seacable | 2026 | Seacable2026 | 0 | Seacable | 2026 | 0
Seacable | 2027 | Seacable2027 | 0 | Seacable | 2027 | 0
Seacable | 2028 | Seacable2028 | 0 | Seacable | 2028 | 0
Seacable | 2029 | Seacable2029 | 0 | Seacable | 2029 | 0
Seacable | 2030 | Seacable2030 | 0 | Seacable | 2030 | 0
Utility_PV | 2021 | Utility_PV2021 | 60 | Utility_PV | 2021 | 60
Utility_PV | 2022 | Utility_PV2022 | 2 | Utility_PV | 2022 | 2
Utility_PV | 2023 | Utility_PV2023 | 0 | Utility_PV | 2023 | 0
Utility_PV | 2024 | Utility_PV2024 | 0 | Utility_PV | 2024 | 0
Utility_PV | 2025 | Utility_PV2025 | 0 | Utility_PV | 2025 | 0
Utility_PV | 2026 | Utility_PV2026 | 4 | Utility_PV | 2026 | 4
Utility_PV | 2027 | Utility_PV2027 | 2 | Utility_PV | 2027 | 2
Utility_PV | 2028 | Utility_PV2028 | 2 | Utility_PV | 2028 | 2
Utility_PV | 2029 | Utility_PV2029 | 4 | Utility_PV | 2029 | 4
Utility_PV | 2030 | Utility_PV2030 | 14 | Utility_PV | 2030 | 14
Wind_Mila | 2020 | Wind_Mila2020 | 3.2 | Wind_Mila | 2004 | 3.2
Wind_OnShore | 2021 | Wind_OnShore2021 | 44.85 | Wind_OnShore | 2021 | 44.85
Wind_OnShore | 2022 | Wind_OnShore2022 | 0 | Wind_OnShore | 2022 | 0
Wind_OnShore | 2023 | Wind_OnShore2023 | 0 | Wind_OnShore | 2023 | 0
Wind_OnShore | 2024 | Wind_OnShore2024 | 13.8 | Wind_OnShore | 2024 | 13.8
Wind_OnShore | 2025 | Wind_OnShore2025 | 6.9 | Wind_OnShore | 2025 | 6.9
Wind_OnShore | 2026 | Wind_OnShore2026 | 0 | Wind_OnShore | 2026 | 0
Wind_OnShore | 2027 | Wind_OnShore2027 | 3.45 | Wind_OnShore | 2027 | 3.45
Wind_OnShore | 2028 | Wind_OnShore2028 | 3.45 | Wind_OnShore | 2028 | 3.45
Wind_OnShore | 2029 | Wind_OnShore2029 | 6.9 | Wind_OnShore | 2029 | 6.9
Wind_OnShore | 2030 | Wind_OnShore2030 | 341.55 | Wind_OnShore | 2030 | 341.55

## Capacity
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 16
CCGT
Diesel | 224.2
Fueloil | 47.4
NG_GT |  | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV_SonSalomo | 5.1
Seacable | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utility_PV |  | 60 | 2 | 0 | 0 | 0 | 4 | 2 | 2 | 4 | 14
Wind_Mila | 3.2
Wind_OnShore |  | 44.85 | 0 | 0 | 13.8 | 6.9 | 0 | 3.45 | 3.45 | 6.9 | 341.55
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 16
CCGT | 0
Diesel | 224.2 |  |  | -224.2 | 0
Fueloil | 47.4 |  |  | -47.4 | 0
OCGT | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV - Son Salomo | 5.1
Seacable | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar PV (new) | 0 | 60 | 2 | 0 | 0 | 0 | 4 | 2 | 2 | 4 | 14
Wind - Mila | 3.2 | [7 empty] | -3.2 | 0
Wind (new) | 0 | 44.85 | 0 | 0 | 13.8 | 6.9 | 0 | 3.45 | 3.45 | 6.9 | 341.55
CUMULATIVE
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4 | 4 | 4 | 20
CCGT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Diesel | 224.2 | 224.2 | 224.2 | -224.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fueloil | 47.4 | 47.4 | 47.4 | -47.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OCGT | 0 | 0 | 0 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
PV - Son Salomo | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1
Seacable | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
Solar PV (new) | 0 | 60 | 62 | 62 | 62 | 62 | 66 | 68 | 70 | 74 | 88
Wind - Mila | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | -3.2 | 0 | 0
Wind (new) | 0 | 44.85 | 44.85 | 44.85 | 58.65 | 65.55 | 65.55 | 69 | 72.45 | 79.35 | 420.9
Installed Cap.
Technology | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Wind | 3.2 | 48.05 | 48.05 | 48.05 | 61.85 | 68.75 | 68.75 | 72.2 | 69.25 | 79.35 | 420.9
Solar PV | 5.1 | 65.1 | 67.1 | 67.1 | 67.1 | 67.1 | 71.1 | 73.1 | 75.1 | 79.1 | 93.1
Sea-cable | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
Nat. gas (OCGT) | 0 | 0 | 0 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Nat. gas (CCGT) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fueloil | 47.4 | 47.4 | 47.4
Diesel | 224.2 | 224.2 | 224.2
Battery | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4 | 4 | 4 | 20

## dispatch_annual
gen_energy_source | period | VLOOKUP | Energy_GWh_typical_yr | VariableCost_per_yr | DispatchEmissions_tCO2_per_typical_yr | gen_tech | gen_energy_source | period | Energy_GWh_typical_yr | VariableCost_per_yr | DispatchEmissions_tCO2_per_typical_yr
Battery | 2021 | Battery2021 | 0 | 0 | 0 | bat_4h | battery | 2021 | 0 | 0 | 0
Battery | 2022 | Battery2022 | 0 | 0 | 0 | bat_4h | battery | 2022 | 0 | 0 | 0
Battery | 2023 | Battery2023 | 0 | 0 | 0 | bat_4h | battery | 2023 | 0 | 0 | 0
Battery | 2024 | Battery2024 | 0 | 0 | 0 | bat_4h | battery | 2024 | 0 | 0 | 0
Battery | 2025 | Battery2025 | 0 | 0 | 0 | bat_4h | battery | 2025 | 0 | 0 | 0
Battery | 2026 | Battery2026 | 6.9185 | 0 | 0 | bat_4h | battery | 2026 | 6.9185 | 0 | 0
Battery | 2027 | Battery2027 | 7.1077 | 0 | 0 | bat_4h | battery | 2027 | 7.1077 | 0 | 0
Battery | 2028 | Battery2028 | 6.8908 | 0 | 0 | bat_4h | battery | 2028 | 6.8908 | 0 | 0
Battery | 2029 | Battery2029 | 6.9557 | 0 | 0 | bat_4h | battery | 2029 | 6.9557 | 0 | 0
Battery | 2030 | Battery2030 | 127.8496 | 0 | 0 | bat_4h | battery | 2030 | 127.8496 | 0 | 0
Seacable | 2021 | Seacable2021 | 178.1718 | 0 | 35121.2324 | cable | cable | 2021 | 178.1718 | 0 | 35121.2324
Seacable | 2022 | Seacable2022 | 179.2035 | 0 | 35324.596 | cable | cable | 2022 | 179.2035 | 0 | 35324.596
Seacable | 2023 | Seacable2023 | 182.4266 | 0 | 35959.933 | cable | cable | 2023 | 182.4266 | 0 | 35959.933
Seacable | 2024 | Seacable2024 | 166.5036 | 0 | 32821.1799 | cable | cable | 2024 | 166.5036 | 0 | 32821.1799
Seacable | 2025 | Seacable2025 | 161.0088 | 0 | 31738.0552 | cable | cable | 2025 | 161.0088 | 0 | 31738.0551
Seacable | 2026 | Seacable2026 | 161.703 | 0 | 31874.8904 | cable | cable | 2026 | 161.703 | 0 | 31874.8905
Seacable | 2027 | Seacable2027 | 158.8696 | 0 | 31316.3719 | cable | cable | 2027 | 158.8696 | 0 | 31316.3719
Seacable | 2028 | Seacable2028 | 156.0805 | 0 | 30766.5815 | cable | cable | 2028 | 156.0805 | 0 | 30766.5815
Seacable | 2029 | Seacable2029 | 150.7582 | 0 | 29717.4523 | cable | cable | 2029 | 150.7582 | 0 | 29717.4523
Seacable | 2030 | Seacable2030 | 25.3102 | 0 | 4989.1484 | cable | cable | 2030 | 25.3102 | 0 | 4989.1484
Diesel | 2021 | Diesel2021 | 1.0801 | 0 | 888.8143 | diesel | diesel | 2021 | 1.0801 | 0 | 888.8143
Diesel | 2022 | Diesel2022 | 1.3605 | 0 | 1119.5892 | diesel | diesel | 2022 | 1.3605 | 0 | 1119.5892
Fueloil | 2021 | Fueloil2021 | 44.0619 | 0 | 38117.9397 | fueloil | fueloil | 2021 | 44.0619 | 0 | 38117.9397
Fueloil | 2022 | Fueloil2022 | 46.3691 | 0 | 40113.8712 | fueloil | fueloil | 2022 | 46.3691 | 0 | 40113.8712
Wind | 2021 | Wind2021 | 6.0613 | 0 | 0 | mila_wind | wind | 2021 | 6.0613 | 0 | 0
Wind | 2022 | Wind2022 | 6.0757 | 0 | 0 | mila_wind | wind | 2022 | 6.0757 | 0 | 0
Wind | 2023 | Wind2023 | 6.3231 | 0 | 0 | mila_wind | wind | 2023 | 6.3231 | 0 | 0
Wind | 2024 | Wind2024 | 5.9372 | 0 | 0 | mila_wind | wind | 2024 | 5.9372 | 0 | 0
Wind | 2025 | Wind2025 | 5.7664 | 0 | 0 | mila_wind | wind | 2025 | 5.7664 | 0 | 0
Wind | 2026 | Wind2026 | 5.8178 | 0 | 0 | mila_wind | wind | 2026 | 5.8178 | 0 | 0
Wind | 2027 | Wind2027 | 5.7467 | 0 | 0 | mila_wind | wind | 2027 | 5.7467 | 0 | 0
Wind | 2028 | Wind2028 | 5.7525 | 0 | 0 | mila_wind | wind | 2028 | 5.7525 | 0 | 0
Natural gas | 2021 | Natural gas2021 | 0 | 0 | 0 | nat_gas | gas | 2021 | 0 | 0 | 0
Natural gas | 2022 | Natural gas2022 | 0 | 0 | 0 | nat_gas | gas | 2022 | 0 | 0 | 0
Natural gas | 2023 | Natural gas2023 | 50.6136 | 367454.5182 | 26577.1856 | nat_gas | gas | 2023 | 50.6136 | 367454.5182 | 26577.1856
Natural gas | 2024 | Natural gas2024 | 46.1763 | 335239.7964 | 24247.1649 | nat_gas | gas | 2024 | 46.1763 | 335239.7964 | 24247.1649
Natural gas | 2025 | Natural gas2025 | 45.5586 | 330755.0839 | 23922.7954 | nat_gas | gas | 2025 | 45.5586 | 330755.0839 | 23922.7954
Natural gas | 2026 | Natural gas2026 | 42.2779 | 306937.5248 | 22200.1232 | nat_gas | gas | 2026 | 42.2779 | 306937.5248 | 22200.1232
Natural gas | 2027 | Natural gas2027 | 42.9927 | 312126.6826 | 22575.4437 | nat_gas | gas | 2027 | 42.9927 | 312126.6826 | 22575.4437
Natural gas | 2028 | Natural gas2028 | 43.7343 | 317510.965 | 22964.8771 | nat_gas | gas | 2028 | 43.7343 | 317510.965 | 22964.8771
Natural gas | 2029 | Natural gas2029 | 44.3391 | 321901.5894 | 23282.4414 | nat_gas | gas | 2029 | 44.3391 | 321901.5894 | 23282.4414
Natural gas | 2030 | Natural gas2030 | 4.6482 | 33745.6819 | 2440.7517 | nat_gas | gas | 2030 | 4.6482 | 33745.6819 | 2440.7517
Solar | 2021 | Solar2021 | 7.7564 | 0 | 0 | salomo_pv | sun | 2021 | 7.7564 | 0 | 0
Solar | 2022 | Solar2022 | 7.8383 | 0 | 0 | salomo_pv | sun | 2022 | 7.8383 | 0 | 0
Solar | 2023 | Solar2023 | 8.1447 | 0 | 0 | salomo_pv | sun | 2023 | 8.1447 | 0 | 0
Solar | 2024 | Solar2024 | 7.6143 | 0 | 0 | salomo_pv | sun | 2024 | 7.6143 | 0 | 0
Solar | 2025 | Solar2025 | 7.5037 | 0 | 0 | salomo_pv | sun | 2025 | 7.5037 | 0 | 0
Solar | 2026 | Solar2026 | 7.3697 | 0 | 0 | salomo_pv | sun | 2026 | 7.3697 | 0 | 0
Solar | 2027 | Solar2027 | 7.2703 | 0 | 0 | salomo_pv | sun | 2027 | 7.2703 | 0 | 0
Solar | 2028 | Solar2028 | 7.4716 | 0 | 0 | salomo_pv | sun | 2028 | 7.4716 | 0 | 0
Solar | 2029 | Solar2029 | 7.0166 | 0 | 0 | salomo_pv | sun | 2029 | 7.0166 | 0 | 0
Solar | 2030 | Solar2030 | 4.0298 | 0 | 0 | salomo_pv | sun | 2030 | 4.0298 | 0 | 0
Solar | 2021 | Solar2021 | 130.5507 | 0 | 0 | utility_pv | sun | 2021 | 130.5507 | 0 | 0
Solar | 2022 | Solar2022 | 134.3225 | 0 | 0 | utility_pv | sun | 2022 | 134.3225 | 0 | 0
Solar | 2023 | Solar2023 | 134.8423 | 0 | 0 | utility_pv | sun | 2023 | 134.8423 | 0 | 0
Solar | 2024 | Solar2024 | 127.6747 | 0 | 0 | utility_pv | sun | 2024 | 127.6747 | 0 | 0
Solar | 2025 | Solar2025 | 127.0201 | 0 | 0 | utility_pv | sun | 2025 | 127.0201 | 0 | 0
Solar | 2026 | Solar2026 | 138.452 | 0 | 0 | utility_pv | sun | 2026 | 138.452 | 0 | 0
Solar | 2027 | Solar2027 | 137.9059 | 0 | 0 | utility_pv | sun | 2027 | 137.9059 | 0 | 0
Solar | 2028 | Solar2028 | 143.2186 | 0 | 0 | utility_pv | sun | 2028 | 143.2186 | 0 | 0
Solar | 2029 | Solar2029 | 148.9277 | 0 | 0 | utility_pv | sun | 2029 | 148.9277 | 0 | 0
Solar | 2030 | Solar2030 | 110.6184 | 0 | 0 | utility_pv | sun | 2030 | 110.6184 | 0 | 0
Wind | 2021 | Wind2021 | 125.2817 | 0 | 0 | wind | wind | 2021 | 125.2817 | 0 | 0
Wind | 2022 | Wind2022 | 125.3794 | 0 | 0 | wind | wind | 2022 | 125.3794 | 0 | 0
Wind | 2023 | Wind2023 | 125.9234 | 0 | 0 | wind | wind | 2023 | 125.9234 | 0 | 0
Wind | 2024 | Wind2024 | 161.8043 | 0 | 0 | wind | wind | 2024 | 161.8043 | 0 | 0
Wind | 2025 | Wind2025 | 176.3153 | 0 | 0 | wind | wind | 2025 | 176.3153 | 0 | 0
Wind | 2026 | Wind2026 | 176.6334 | 0 | 0 | wind | wind | 2026 | 176.6334 | 0 | 0
Wind | 2027 | Wind2027 | 188.0068 | 0 | 0 | wind | wind | 2027 | 188.0068 | 0 | 0
Wind | 2028 | Wind2028 | 192.1704 | 0 | 0 | wind | wind | 2028 | 192.1704 | 0 | 0
Wind | 2029 | Wind2029 | 205.8067 | 0 | 0 | wind | wind | 2029 | 205.8067 | 0 | 0
Wind | 2030 | Wind2030 | 440.8385 | 0 | 0 | wind | wind | 2030 | 440.8385 | 0 | 0

## Dispatch
Technology | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Battery | 0 | 0 | 0 | 0 | 0 | 6.9185 | 7.1077 | 6.8908 | 6.9557 | 127.8496 |  | 94.88%
Seacable | 178.1718 | 179.2035 | 182.4266 | 166.5036 | 161.0088 | 161.703 | 158.8696 | 156.0805 | 150.7582 | 25.3102
Diesel | 1.0801 | 1.3605 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fueloil | 44.0619 | 46.3691 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural gas | 0 | 0 | 50.6136 | 46.1763 | 45.5586 | 42.2779 | 42.9927 | 43.7343 | 44.3391 | 4.6482
Solar | 138.3071 | 142.1608 | 142.987 | 135.289 | 134.5238 | 145.8218 | 145.1762 | 150.6902 | 155.9443 | 114.6482
Wind | 131.3431 | 131.4551 | 132.2465 | 167.7415 | 182.0817 | 182.4512 | 193.7535 | 197.9229 | 205.8067 | 440.8385
TOTAL | 492.964 | 500.549 | 508.2736 | 515.7103 | 523.1728 | 531.0329 | 539.5377 | 547.2118 | 555.6208 | 562.8834 | Check if it matches ElectricityCost!
Technology | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Wind | 26.64% | 26.26% | 26.02% | 32.53% | 34.8% | 33.84% | 35.36% | 35.64% | 36.5% | 61.8%
Solar | 28.06% | 28.4% | 28.13% | 26.23% | 25.71% | 27.05% | 26.5% | 27.14% | 27.66% | 16.07%
Sea-cable | 36.14% | 35.8% | 35.89% | 32.29% | 30.78% | 29.99% | 29% | 28.11% | 26.74% | 3.548%
Natural gas | 0% | 0% | 9.958% | 8.954% | 8.708% | 7.841% | 7.847% | 7.876% | 7.864% | 0.6516%
Fueloil | 8.938% | 9.264% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Diesel | 0.2191% | 0.2718% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Battery | 0% | 0% | 0% | 0% | 0% | 1.283% | 1.297% | 1.241% | 1.234% | 17.92%
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Renewables | 54.7% | 54.66% | 54.15% | 58.76% | 60.52% | 61.68% | 62.67% | 63.57% | 64.96% | 94.88%
Fossil fuel | 9.157% | 9.535% | 9.958% | 8.954% | 8.708% | 7.943% | 7.95% | 7.974% | 7.963% | 0.794%
Sea-cable | 36.14% | 35.8% | 35.89% | 32.29% | 30.78% | 30.38% | 29.38% | 28.46% | 27.07% | 4.323%

## ElectricityCost
PERIOD | SystemCostPerPeriod_NPV | SystemCostPerPeriod_Real | EnergyCostReal_per_MWh | SystemDemand_MWh
2021 | 55556326.4335 | 56667452.9622 | 114.9525 | 492964.01
2022 | 54994284.9805 | 57216054.0937 | 114.3066 | 500549
2023 | 39745947.4605 | 42178717.4127 | 82.9843 | 508273.64
2024 | 39234486.816 | 42468670.3107 | 82.3499 | 515710.3
2025 | 38856931.433 | 42901192.0664 | 82.002 | 523172.79
2026 | 38492560.0779 | 43348874.581 | 81.6312 | 531032.88
2027 | 38103612.1162 | 43769073.1236 | 81.1233 | 539537.67
2028 | 37708665.7744 | 44181711.9996 | 80.7397 | 547211.77
2029 | 37090761.9366 | 44326893.955 | 79.779 | 555620.8
2030 | 58397069.1998 | 71185701.4986 | 126.4662 | 562883.37
Total | 438180646.2 | 488244342 | 92.5239 | 5276956.23
component | npv_cost | Cost (million Euros)
TotalGenFixedCosts | 302001619.7807 | 302.0016
StorageEnergyInstallCosts | 14690191.5591 | 14.6902
GenVariableOMCostsInTP | 2067850.8348 | 2.0679
FuelCostsPerTP | 119420984.0538 | 119.421